PART 1 – GENERAL

NOTE TO SPECIFIER: This specification applies solely to the installation of gauged porcelain tiles-panels-slabs on exterior walls (if approved by local building codes). For exterior, adhered installations of traditional thickness ceramic / porcelain tiles, refer to ‘LATICRETE Master Specification – 09 30 00 – Exterior Adhered Veneers.’ For exterior, adhered masonry veneer installations (e.g. manufactured stone veneer and thin brick veneer), refer to ‘LATICRETE Master Specification – 04 26 00 - Exterior Adhered Veneers.’ For additional installation methods and systems, for traditional thickness ceramic tiles, refer to ‘LATICRETE Master Specification – 09 30 00 – 25 Year Systems.’

1.1	SUMMARY

- Scope of work - Provide porcelain tile, tile installation materials and accessories as indicated on drawings, as specified herein, and as needed for complete and proper installation.

- Related Documents - provisions within General and Supplementary General Conditions of the Contract, Division 1 - General Requirements, and the Drawings apply to this Section.

1.2	SECTION INCLUDES

NOTE TO SPECIFIER: Edit for applicable procedures & materials

- Gauged porcelain tile

- Installation Products; adhesives, mortars, grouts and sealants

- Waterproofing membranes for porcelain tile work

- Anti-fracture membranes for porcelain tile work

- Thresholds, trim, cementitious backer units and other accessories specified herein.

1.3	PRODUCTS FURNISHED BUT NOT INSTALLED UNDER THIS SECTION

NOTE TO SPECIFIER: Edit for applicable products

1.4	PRODUCTS INSTALLED BUT NOT FURNISHED UNDER THIS SECTION

NOTE TO SPECIFIER: Edit for applicable products

1.5	ENVIRONMENTAL PERFORMANCE REQUIREMENTS

Environmental Performance Criteria:  The following criteria are required for products included in this section.

Refer to Division 1 for additional requirements:

1.    Products manufactured regionally within a 100 mile radius of the Project site;

2.    Adhesive products must meet or exceed the VOC limits of South Coast Air Quality

Management District Rule (SCAQMD) #1168 and Bay Area Air Quality Management District (BAAQMD)

Reg. 8, Rule 51.

1.6	RELATED SECTIONS

NOTE TO SPECIFIER: Below are examples of typical broad scope and narrow scope sections related to porcelain tile installation. Edit for applicable related sections

- Section 03 30 00 Cast-in-Place Concrete

- Section 03 39 00 Concrete Curing

- Section 03 41 00  Precast Structural Concrete

- Section 07 14 00  Fluid Applied Waterproofing

- Section  07 92 00 Joint Sealants

- Section 09 28 00 Backing Boards and Underlayments

- Section 09 29 00 Gypsum Board

- Section 09 30 00 Tiling

1.7	ALLOWANCES

NOTE TO SPECIFIER: Edit for detail of applicable ALLOWANCES; coordinate with Section 01 21 00 Allowances.  Allowances in the form of unit pricing are sometimes used when the scope of the tile work at time of bid is undetermined.

1.8	ALTERNATES

NOTE TO SPECIFIER: edit for applicable ALTERNATES.  Alternates may be used to evaluate varying levels of performance of setting systems or to assist in the selection of the tile by economy.

1.9	REFERENCE STANDARDS

NOTE TO SPECIFIER: edit for applicable reference standards

- American Iron and Steel Institute (AISI) Specification for the Design of Cold-Formed Steel Structural Members

- American National Standards Institute (ANSI) A137.1 American National Standard Specifications For Ceramic Tile

- American National Standards Institute (ANSI) A108.01 - A108.17 American National Standard Specifications For The Installation Of Ceramic Tile

- American National Standards Institute (ANSI) A118.1 - A118.15 American National Standard Specifications For The Installation Of Ceramic Tile

- American National Standards Institute (ANSI) A137.3 American National Standard Specifications for Gauged Porcelain Tiles and Gauged Porcelain Tile Panels/Slabs

- American National Standards Institute (ANSI) A108.19 American National Standard Specifications for the Installation of Gauged Porcelain Tiles and Gauged Porcelain Tile Panels/Slabs

- American Society For Testing And Materials (ASTM) C171 Standard Specification for Sheet Materials for Curing Concrete

- American Society For Testing And Materials (ASTM) C531 Standard Test Method for Linear Shrinkage and Coefficient of Thermal Expansion of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings and Polymer Concretes

- American Society For Testing And Materials (ASTM) C627 Standard Test Method for Evaluating Ceramic Floor Tile Installation Systems Using the Robinson-Type Floor Tester

- American Society For Testing And Materials (ASTM) C794 Standard Test Method for Adhesion-in-Peel of Elastomeric Joint Sealants

- American Society For Testing And Materials (ASTM) C847 Standard Specification for Metal Lath

- American Society For Testing And Materials (ASTM) C920 Standard Specification for Elastomeric Joint Sealants

- American Society For Testing And Materials (ASTM) D1248 Standard Test Method for Staining of Porous Substances by Joint Sealants

- American Society For Testing And Materials (ASTM) D4263 Standard Test Method for Indicating Moisture in Concrete by The Plastic Sheet Method

- American Society For Testing And Materials (ASTM) D4716 Standard Test Method for Determining the (In Plane) Flow Rate Per Unit Width and Hydraulic Transmissivity of a Geo-synthetic Using a Constant Head

- American Society For Testing And Materials (ASTM) E492 Standard Test Method for Laboratory Measurement of Impact Sound Transmission Through Floor-Ceiling Assemblies Using the Tapping Machine

- American Society For Testing And Materials (ASTM) E989 Standard Classification for Determination of Impact Insulation Class (IIC)

- American Society For Testing And Materials (ASTM) E1155 Standard Test Method for Determining FF Floor Flatness and FL Floor Levelness

- American Society For Testing and Materials (ASTM) F1869 Standard Test Method for Measuring Moisture Vapor Emission Rate of Concrete Subfloor Using Anhydrous Calcium Chloride

- American Society For Testing and Materials (ASTM) 2170 Standard Test Method for Determining Relative Humidity in Concrete Floor Slabs using in situ Probes

- American Society of Mechanical Engineers (ASME) - ASME A112.6.3 Floor and Trench Drains

- Canadian Sheet Steel Building Institute (CSSBI) Lightweight Steel Framing Binder {Publication 52M}

- Federal Housing Administration (FHA) Bulletin No. 750 Impact Noise Control in Multifamily Dwellings

- Housing and Urban Development (HUD) TS 28 A Guide to Airborne, Impact and Structure-borne Noise-Control in Multifamily Dwellings

- International Organization for Standardization (ISO) 13007 Standards for Grouts and Adhesives

- Materials And Methods Standards Association (MMSA) Bulletins 1-16

- Metal Lath/Steel Framing Association (ML/SFA) 540 Lightweight Steel Framing Systems Manual

- Steel Stud Manufacturers Association (SSMA) Product Technical Information and ICBO Evaluation Service, Inc. Report ER-4943P

- Terrazzo, Tile And Marble Association Of Canada (TTMAC) Specification Guide 09300 Tile Installation Manual

- Tile Council Of North America (TCNA) Handbook For Ceramic, Glass, and Stone Tile Installation

1.10	SYSTEM DESCRIPTION

NOTES TO SPECIFIER: The systems below are examples; edit based on project specific conditions. Additionally, building code waivers may need to be obtained for large format “adhered veneer” exterior façade installations where tile sizes:

- Exceed 24 inches (600 mm) in any face dimension

- Exceed 3 square feet (0.27 square meters) in total facial area, or

- Are less than .25 inches (6 mm) thick

Consult with local building code / building code officials as required.

- Exterior installations of gauged porcelain tiles over concrete using latex Portland cement mortar and latex Portland cement grout.

- Exterior installations of gauged porcelain tiles over cementitious backer board using latex Portland cement mortar and cement grout.

1.11	SUBMITTALS

NOTE TO SPECIFIER: Edit for applicable requirements

- Submittal Requirements: Submit the following “Required LEED Criteria” certification items as listed below.  Refer to Division 1 for additional requirements:

  - A completed LEED Environmental Building Materials Certification Form.  Information to be

supplied generally includes:

    - Manufacturing plant locations for tile installation products.

    - LEED Credits as listed in Part 1.4B “LEED Credit Submittals”

    - Recycled content; pre-consumer or post-consumer; or;

Project specific information gathered using the LATICRETE LEED Project Certification Assistant available at www.laticrete.com/green.

  - UL GREENGUARD Certification Program For Chemical Emissions For Building Materials, Finishes And Furnishings, UL 2818 or UL GREENGUARD Gold certificates provided by the tile installation materials manufacturer on UL GREENGUARD letterhead stating “This product has been UL GREENGUARD Gold Product Certified For Low Chemical Emissions by the UL Environment under the UL GREENGUARD Certification Program For Chemical Emissions For Building Materials, Finishes And Furnishings” for each tile installation product used to verify Low VOC product information.

  - Contractor’s certification of LEED Compliance: Submit Contractor’s certification verifying the

installation of specified LEED Compliant products.

  - Product Cut Sheets for all materials that meet the LEED performance criteria.  Submit Product Cut

Sheets with Contractor or Sub-contractor’s stamp, as confirmation that submitted products

Were installed on Project.

  - Material Safety Data Sheets for all applicable products.

- LEED Credit Submittals for the following;

  - LEED Reference Guide for Green Building Design and Construction, LEED v4 MR Credit Building Product Disclosure and Optimization – Material Ingredients: Manufacturer’s product data for tile installation materials, including Health Product Declaration (HPD) on HPD Collaborative letterhead.

  - LEED Reference Guide for Green Building Design and Construction, LEED v4 MR Credit Building Product Disclosure and Optimization – Sourcing of Raw Materials Option 2 (Recycled Content):

Manufacturer’s product data for tile installation materials.

  - LEED Reference Guide for Green Building Design and Construction, LEED v4 MR Credit:

Building Product Disclosure and Optimization – Sourcing of Raw Materials Option 2 (Regional Materials): Product data indicating location of material manufacturer for regionally manufactured Materials (within 100 miles of project site).

  - LEED Reference Guide for Green Building Design and Construction, LEED v4 Edition MR Credit Construction and Demolition Waste Management: Path 1 (Divert 50% and Three Material Streams) Manufacturer’s packaging showing recycle symbol for appropriate disposition in construction waste management.

  - LEED Reference Guide for Green Building Design and Construction, LEED v4 Edition MR Credit Construction and Demolition Waste Management: Path 1 (Divert 75% and Four Material Streams) Manufacturer’s packaging showing recycle symbol for appropriate disposition in construction waste management.

  - LEED Reference Guide for Green Building Design and Construction, LEED v4 EQ Credit

Low-Emitting Materials: Manufacturer’s product data for tile installation materials, including UL GREENGUARD Gold Certificate on UL GREENGUARD letterhead stating product VOC emissions.

7.   LEED Schools Reference Guide (Educational Projects Only), 2007 Edition Credit EQ 9 (Enhanced Acoustical Performance): Impact noise reduction test reports and product data on sound control product(s).

8. LEED Schools Reference Guide (Educational Projects Only), 2007 Edition Credit EQ 10 (Mold

Prevention): Manufacturer’s packaging and/or data showing anti-microbial protection in Product(s).

- Submit shop drawings and manufacturers' product data under provisions of Section (01 30 00)

(01 34 00)

- Submit samples of each type/style/finish/size/color of thin porcelain tiles under provisions of Section (01 30 00)  (01 34 00)

- Submit manufacturers' installation instructions under provisions of Section (01 30 00)  (01 34 00)

- Submit manufacturer's certification under provisions of Section (01 45 00) that the materials supplied conform to ANSI A137.1 for ceramic tile or ANSI A137.2 for glass tile.

- Submit proof of warranty.

- Submit Health Product Declarations (HPD) for each tile installation material.

- Submit sample of installation system demonstrating compatibility/functional relationships between adhesives, mortars, grouts and other components under provision of Section (01 30 00)  (01 34 00).  Submit proof from tile or Ceramic tile manufacturer or supplier verifying suitability of thin porcelain tiles for specific application and use; including dimensional stability, water absorption, freeze/thaw resistance (if applicable), resistance to thermal cycling, and other characteristics that the project may require. These characteristics must be reviewed and approved by the project design professional(s).

- Submit list from manufacturer of installation system/adhesive/mortar/grout identifying a minimum of three (3) similar projects, each with a minimum of ten (10) years service.

- For alternate materials, at least thirty (30) days before bid date submit independent laboratory test results confirming compliance with specifications listed in Part 2 - Products.

1.12	QUALITY ASSURANCE

NOTES TO SPECIFIER:

- It is strongly recommended to use installers who have demonstrated their commitment to their craft and taken the time to stay current with the latest materials and methods. Requiring references and a portfolio along with a bid or estimate is a good way to ensure the installer has successfully completed work of similar size, scope, and complexity.

- Pools, exterior facades, mortar beds, shower pans, steam showers, etc. require different skills. Matching installer ability to the project at hand requires close evaluation of their experience, training, state licensing (where applicable), and certifications/credentials (where applicable). The Ceramic Tile Education Foundation (CTEF) provides a Contractor Questionnaire that can be used to aid in evaluating and comparing contractors (www.tilecareer.com).

- Various programs administered by associations, non-profit educational organizations, unions, and private companies serve the tile industry by providing education, hands-on training, and evaluation of the skills and competency of installers and contractors. It is important to distinguish between the many programs available:

- Hands-on training

- Evaluation/certification of installation skills

- On-line training

- On-line knowledge evaluation (without a hands-on component)

As with all programs, the rigor and credibility of the program must also be considered.

The following non-profit programs are well-established and recognized by the Tile Council of North America’s (TCNA) Handbook Committee (listed alphabetically):

Ceramic Tile Education Foundation (CTEF) Certified Tile Installer Program: CTEF tests hands-on installation skills and knowledge. Installers must achieve the minimum required score on both tests to earn the “CTEF Certified Installer” designation. Contractors that employ CTEF Certified Installers are listed in the CTEF Contractor Directory, found in this Handbook and on the CTEF website. See www.tilecareer.org for more information.

International Masonry Institute (IMI) Contractor College Program: IMI conducts professional and technical courses for union masonry and tile contractors, which lead to certification in installation and project supervision. See www.imiweb.org for more information.

Journeyman Tile Layer Apprenticeship Programs: Installers recognized by the U.S. Department of Labor (DOL) as Journeyman Tile Layers are required to fulfill and document several years of training and on-the-job experience as apprentices to become Journeymen. The majority of these setters earn their Journeyman status through union-affiliated training programs, although some non-union tile contractors administer their own DOL-recognized apprenticeship programs and employ journeyman tile layers. Contractors that employ union Journeyman Tile Setters can be found through the union locals that list their signatory contractors, primarily the Bricklayer and Allied Craftworkers (BAC) and the United Brotherhood of Carpenters (UBC). See www.bacweb.org and www.carpenters.org for more information.

National Tile Contractors Association (NTCA) Five Star Contractor Program: NTCA is a tile contractors association, with membership open to all tile contractors. Their Five Star program is a peer review program to recognize NTCA members who have demonstrated a track record of providing successful installations. Earning the Five Star designation requires recommendations from customers, suppliers, and peers as well as participation in continuing education, training, and safety programs. See www.tile-assn.com for more information.

Tile Contractors’ Association of America (TCAA) Trowel of Excellence Program: TCAA is a contractors association for BAC signatory contractors. Its Trowel of Excellence program is a peer review program to recognize TCAA members who have demonstrated a track record of providing successful installations. Earning the Trowel of Excellence designation requires letters of reference, submittal of a detailed project description and photos, employee participation in educational programming, and proof of financial responsibility. See www.tcaainc.org for more information.

- Tile Manufacturer (single source responsibility): Company specializing in large, thin porcelain tiles with three (3) years minimum experience. Obtain tile from a single source with resources to provide products of consistent quality in appearance and physical properties.

- Installation System Manufacturer (single source responsibility): Company specializing in adhesives, mortars, grouts and other installation materials with ten (10) years minimum experience and ISO 9001 certification.  Obtain installation materials from single source manufacturer to insure consistent quality and full compatibility.

- Submit laboratory confirmation of adhesives, mortars, grouts and other installation materials:

  - Identify proper usage of specified materials using positive analytical method.

  - Identify compatibility of specified materials using positive analytical method.

  - Identify proper color matching of specified materials using a positive analytical method.

- Installer qualifications: company specializing in installation of large, thin porcelain tiles with five (5) years documented experience with installations of similar scope, materials and design.

1.13	MOCK-UPS

- Provide mock-up of each type/style/finish/size/color of thin porcelain tiles, along with respective installation adhesives, mortars, grouts and other installation materials, under provisions of Section(s) (01 43 00) (01 43 39).

1.14	PRE-INSTALLATION CONFERENCE

Pre-installation conference: At least three weeks prior to commencing the work attend a meeting at the jobsite to discuss conformance with requirements of specification and job site conditions.  Representatives of owner, architect, general contractor, tile subcontractor, Tile Manufacturer, Installation System Manufacturer and any other parties who are involved in the scope of this installation must attend the meeting.

1.15	DELIVERY, STORAGE AND HANDLING

- Acceptance at Site: deliver and store packaged materials in original containers with seals unbroken and labels, including grade seal, intact until time of use, in accordance with manufacturer's instructions.

- Store large, thin porcelain tiles and installation system materials in a dry location; handle in a manner to prevent chipping, breakage, and contamination.

- Thin porcelain tiles are to be stored both upright and horizontal. If tiles are placed on top of each other, ensure that each tile is clean and that the surface that the slabs are resting on is flat. If tiles are stored in their vertical position, rest them on their long side. This side must be protected by wood, cardboard, polystyrene or rubber cement.

- To correctly lift and handle pallets / crates of large porcelain slabs using a forklift, position the forks at a distance of minimum 3.3 feet (1 meter) from each other, perpendicular to the long side of the pallet and at the center of the pallet. If necessary, to move pallets of large porcelain slabs, by the pallet short side, forks must be at least as long as the longest panel edge.

- Protect latex additives, organic adhesives, epoxy adhesives and sealants from freezing or overheating in accordance with manufacturer's instructions; store at room temperature when possible.

- Store Portland cement mortars and grouts in a dry location.

1.16	PROJECT/SITE CONDITIONS

- Provide ventilation and protection of environment as recommended by manufacturer.

- Prevent carbon dioxide damage to thin porcelain tiles, as well as adhesives, mortars, grouts and other installation materials, by venting temporary heaters to the exterior.

C.   Maintain ambient temperatures not less than 50ºF (10ºC) or more than 100ºF (38ºC) during installation and for a minimum of seven (7) days after completion.  Setting of portland cement is retarded by low temperatures.  Protect work for extended period of time and from damage by other trades.  Installation with latex Portland cement mortars requires substrate, ambient and material temperatures at least 37ºF (3ºC).  There is to be no ice in slab.  Freezing after installation will not damage latex Portland cement mortars. Protect Portland cement based mortars and grouts from direct sunlight, radiant heat, forced ventilation (heat & cold) and drafts until cured to prevent premature evaporation of moisture. Epoxy mortars and grouts require surface temperatures between 60ºF (16ºC) and 90ºF (32ºC) at time of installation. It is the General Contractor’s responsibility to maintain temperature control.

1.17	SEQUENCING AND SCHEDULING

NOTES FOR SPECIFIER:  Edit for project specific sequence and scheduling

- Coordinate installation of tile work with related work.

- Proceed with tile work only after curbs, vents, drains, piping, and other projections through substrate have been installed and when substrate construction and framing of openings have been completed.

1.18      WARRANTY

NOTE TO SPECIFIER: Select one of the following LATICRETE system warranties.

- The Contractor warrants the work of this Section to be in accordance with the Contract Documents and free from faults and defects in materials and workmanship for a period of 25 years. The manufacturer of adhesives, mortars, grouts and other installation materials shall provide a written twenty five (25) year warranty, which covers materials and labor - reference LATICRETE Warranty Data Sheet 025.0 for complete details and requirements.

- For exterior facades over steel or wood framing, the manufacturer of adhesives, mortars, grouts and other installation materials shall provide a written fifteen (15) year warranty, which covers materials and labor - reference LATICRETE Warranty Data Sheet 230.15 for complete details and requirements.

1.19	MAINTENANCE

Submit maintenance data under provisions of Section(s) (01 74 13) (01 74 16) (01 74 23). Include cleaning methods, cleaning solutions recommended, stain removal methods, as well as polishes and waxes recommended.

1.20	EXTRA MATERIALS STOCK

Upon completion of the work of this Section, deliver to the Owner 2% minimum additional tile and trim shape of each type, color, pattern and size used in the Work, as well as extra stock of adhesives, mortars, grouts and other installation materials for the Owner's use in replacement and maintenance. Extra stock is to be from same production run or batch as original tile and installation materials.

PART 2 - PRODUCTS

2.1	TILE MANUFACTURERS

NOTE TO SPECIFIER: Provide list of acceptable tile manufacturers.

Subject to compliance with paragraphs 1.12 and performance requirements, provide products by one of the following manufacturers:

2.2	WALL TILE MATERIALS

NOTE TO SPECIFIER: edit for each tile type

- Porcelain Tile:

- Grade:

- Size:

- Edge:

- Finish:

- Color:

- Special shapes:

- Location:

2.3	FLOOR TILE MATERIALS

NOTE TO SPECIFIER: edit for each tile type

- Porcelain Tile:

- Grade:

- Size:

- Edge:

- Finish:

- Color:

- Special shapes:

- Location:

2.4	PORCELAIN TILE INSTALLATION MATERIALS MANUFACTURER

- LATICRETE International, Inc., 1 Laticrete Park North, Bethany, CT 06524-3423 USA Phone 800-243-4788, (203) 393-0010 technicalservices@laticrete.com, www.laticrete.com;  www.laticrete.com/green

2.5	INSTALLATION ACCESSORIES – LARGE THIN PORCELAIN TILE

NOTE TO SPECIFIER:  Edit applicable tile installation accessories.

- Waterproofing and Crack Isolation Membrane to be thin, cold applied, single component liquid and load bearing and UL GREENGUARD Gold compliant. Reinforcing fabric to be non-woven rot-proof specifically intended for waterproofing membrane.  Waterproofing Membrane to be non-toxic, non-flammable, and non-hazardous during storage, mixing, application and when cured. It shall be certified by IAPMO and ICC approved as a shower pan liner and shall also meet the following physical requirements:

  - Hydrostatic Test (ASTM D4068):	Pass

  - Elongation @ break (ASTM D751):	20-30%

  - System Crack Resistance (ANSI A118.12):	Pass (High)

  - 7 day Tensile Strength (ANSI A118.10):	265 psi (1.8 MPa)

  - 7 day Shear Bond Strength (ANSI A118.10)	200 psi (1.4 MPa)

  - 28 Day Shear Bond Strength (ANSI A118.4):	214 psi (1.48 – 2.4 MPa)

  - Service Rating (TCNA/ASTM C627):	Extra Heavy

  - Total VOC Content:	≤0.22 mg/m3

(Basis of Design: LATICRETE® HYDRO BAN®**)

- Epoxy Waterproofing Membrane to be 3 component epoxy, trowel applied specifically designed to be used under Ceramic tile, stone or brick and requires only 24 hours prior to flood testing:

  - Breaking Strength (ANSI A118.10):	450-530 psi (3.1-3.6 MPa)

  - Waterproofness (ANSI A118.10):	No Water penetration

  - 7 day Shear Bond Strength (ANSI A118.10):	110-150 psi (0.8-1 MPa)

  - 28 Day Shear Bond Strength (ANSI A118.10):	90-120 psi (0.6–0.83 MPa)

  - 12 Week Shear Bond Strength (ANSI A118.10):	110-130 psi (0.8-0.9 MPa)

  - Total VOC Content:	<3.4 g/L

(Basis of Design: LATAPOXY® Waterproof Flashing Mortar)

- Waterproofing Sheet Membrane to be thin, durable polyethylene core with a fused non-woven polypropylene exterior surface, IAPMO approved as shower pan liner, and allow for use of either polymer modified or un-modified tile mortars, depending upon substrate and type of tile used.

  - Waterproofness (ASTM D4068):			Pass

  - 7 day Shear Bond Strength (ANSI A118.10):		≥ 170 psi

  - 7-Day Water Immersion Shear Strength (ASTM C482-09):	≥ 100 psi

  - Service Rating (TCNA ASTM C627):			Extra Heavy

(Basis of Design: LATICRETE HYDRO BAN Sheet Membrane)

- Lightweight, Waterproof Tile Backer Board to comprised of high-density polystyrene core and reinforced, waterproof cementitious coating on both sides. Available in thicknesses from ¼ inch to 2 inches (6 millimeters to 50 millimeters) and specifically designed for use in bonded tile and stone installations.

- Compressive Strength (ASTM  D1621):			30 psi (0.2 MPa)

- Compressive Modulus (ASTM D1621):			≥ 1200 psi (8.3 MPa)

- Tensile Strength (ASTM C297):				50 psi (0.3 MPa)

- Elongation (ASTM C297):				3.1%

- Shear Strength (ASTM C273):				30 foot pounds (0.04 kN-meter)

- Waterproofness (ANSI A118.10):			Pass

- R-Value (ASTM C578):				R=4.8/inch

- Flexural Strength (ASTM C947):			≥ 1900 psi (13.1 MPa)

- Temperature Limits:					160 – 220 degrees F (71 – 104 degrees C)

- Flash Point:						≥ 600 degrees F (316 degrees C)

(Basis of Design: LATICRETE® HYDRO BAN Board)

- Low Profile Linear Floor Drain to be comprised of heavy duty 304 stainless steel, specially designed for bonded waterproofing installations, allow for large format tile use in showers with single slope to drain, available with standard, vertical waste line and horizontal side outlet, and with flow rate of ≥ eight (8) gallons per minute (30 liters per minute).

(Basis of Design: LATICRETE HYDRO BAN Linear Drain)

- Low Profile Bonding Flange Floor Drain to be comprised of heavy duty 304 stainless steel, specially designed for bonded waterproofing installations, allow for elimination of pre-slope layer and primary shower pan liner, per TCNA B422, and with flow rate of ≥ eight (8) gallons per minute (30 liters per minute).

(Basis of Design: LATICRETE HYDRO BAN Bonding Flange Drain)

- Wire Reinforcing:  2 inch x 2 inch (50 x 50 mm) x 16 ASW gauge or 0.0625 inch (1.6mm) diameter galvanized steel welded wire mesh complying with ANSI A108.02 3.7, ASTM A185 and ASTM A82.

- Galvanized, diamond metal lath: flat expanded type, weighing not less than 3.2 lb. per yd2 (1.4 kg/m2). Metal lath shall comply with ASTM C847.

- Cleavage membrane: 15 pound asphalt saturated, non-perforated roofing felt complying with ASTM D226, 15 pound coal tar saturated, non-perforated roofing felt complying with ASTM D227 or 4.0 mils (0.1 mm) thick polyethylene plastic film complying with ASTM D4397.

- Cementitious backer board units: size and thickness as specified, complying with ANSI A118.9.

- Thresholds:  Provide marble saddles complying with ASTM C241 for abrasion resistance and ASTM C503 for exterior use, in color, size, shape and thickness as indicated on drawings.

2.6	INSTALLATION MATERIALS – LARGE THIN PORCELAIN TILE

NOTE TO SPECIFIER:  Edit applicable tile installation materials.

- Moisture Vapor Reduction to be epoxy based and UL GREENGUARD Gold compliant as well as meet the following physical requirements:

1.    Shear Bond to Concrete (ANSI A118.12-5.1.5):	>285 psi (2.0 MPa)

2.    Alkalinity Resistance (ASTM C267):	Pass

3.    Permeability (ASTM F1869):	9.7 lbs/1,000ft2/24 hours down to 0.2

lbs/1,000 ft2/24hours (248 µg/s•m2 down to

11 µg/s•m2)

4.   Total VOC Content:	 ≤0.22 mg/m3

(Basis of Design: LATICRETE® NXT™ Vapor Reduction Coating**)

- Latex Portland Cement Mortar for thick beds, screeds, leveling beds and scratch/plaster coats to be weather, frost, shock resistant, UL GREENGUARD Gold compliant, and meet the following physical requirements:

  - Compressive Strength (ANSI A118.4 Modified):	>4,000 psi (27.6 MPa)

  - Water Absorption (ANSI A118.6):			≤ 5%

  - Service Rating (TCA/ASTM C627):			Extra Heavy

  - Smoke & Flame Contribution (ASTM E84 Modified):	0

  - Total VOC Content:				≤0.22 mg/m3

(Basis of Design: LATICRETE 3701 Fortified Mortar**)

- Self-Leveling Underlayment shall be mixed with water to produce a pumpable, fast setting, free flowing cementitious underlayment which can be poured from 1/8 in. to 1-1/4 in. (3 to 32mm) thick in one pour and GREENGUARD Gold compliant.

  - 28 Day Compressive Strength (ASTM C1708.):		>4000 psi (27.6 MPa)

  - Tensile Bond Strength (ASTM C1583):			>500 psi (3.5 MPa)

  - Time To Foot Traffic:					1 – 4 Hours

  - Total VOC Content:					< 0.05 mg/m3

(Basis of Design: LATICRETE NXT Level Plus and NXT Primer)

- Epoxy Adhesive to be chemical resistant 100% solids epoxy with high temperature resistance, GREENGUARD Gold compliant, conform to ISO R2, and meet the following minimum physical requirements:

  - Compressive strength (ANSI A118.3):			>5000 psi (34.4 MPa)

  - Shear Bond Strength (ANSI A118.3):			>1250 psi (8.6 MPa)

  - Thermal Shock Resistance (ANSI A118.3):		>600 psi (4.1 MPa)

  - Tensile Strength (ANSI A118.3):			>1400 psi (9.6 MPa)

  - Shrinkage (ANSI A118.3):				0 – 0.1%

  - Total VOC Content:					≤0.22 mg/m3

  - ISO 13007 Classification:				R2

  - Cured Epoxy Adhesive to be chemically and stain resistant to ketchup, mustard, tea, coffee, milk, soda, beer, wine, bleach (5% solution), ammonia, juices, vegetable oil, detergents, brine, sugar, cosmetics and blood, as well as chemically resistant to dilute food acids, dilute alkalis, gasoline, turpentine and mineral spirits.

(Basis of Design: LATAPOXY 300 Adhesive**)

- Improved Modified Dry-Set Cement Thin Bed Mortar for thin set and slurry bond coats to be weather, frost, shock resistant, non-flammable, GREENGUARD Gold compliant, conform to ISO C2TES2,and meet the following physical requirements:

  - 28 Day Porcelain Tile Shear Strength (ANSI A118.15):  	>450 psi (3.1 MPa)

  - 28 Day Dry Cure / 20 Cycle Freeze-Thaw Porcelain Tile

Shear Strength (ANSI A118.15):			≥ 250 psi (1.7 MPa)

  - 7 Day Cure / 7 Day Water Immersion (ANSI A118.15):	>280 psi (1.9 MPa)

  - Extended Open Time (ANSI A118.15):		   	> 100 psi (0.7 MPa)

  - Smoke & Flame Contribution (ASTM E84 Modified):	0

  - Total VOC Content:                                                      	≤0.22 mg/m3

(Basis of Design: LATICRETE® 254 Platinum**)

- Rapid-Setting Modified Dry-Set Cement Thin Bed Mortar to be weather, frost, shock resistant, non-flammable, conform to EN12004:2007 + A1:2012 for Class C2FTS2 adhesive, and meet the following physical requirements:

  - 28 Day Porcelain Tile Shear Strength (ANSI A118.4): 	>400 psi (2.8MPa)

  - 7 Day Cure / 7 Day Water Immersion (ANSI A118.4): 	>200 psi (1.4 MPa)

  - Shear Bond / Quarry Tile to Plywood (ANSI A118.11):	>190 psi (1.3 MPa)

  - Open Time (ANSI A118.4):				≥ 30 minutes

(Basis of Design: LATICRETE 254R Platinum Rapid)

- Epoxy Grout (Commercial/Residential) shall be non-toxic, non-flammable, non-hazardous during storage, mixing, application and  when cured, UL GREENGUARD Gold compliant,  and shall meet the following physical requirements:

  - Compressive Strength (ANSI A118.3):			3,800 psi (26.2 MPa)

  - Shear Bond Strength (ANSI A118.3):			1,100 psi (7.6 MPa)

  - Tensile Strength (ANSI A118.3):			1,100 psi (7.6 MPa)

  - Thermal Shock (ANSI A118.3):				>800 psi (5.5 MPa)

  - Water Absorption (ANSI A118.3):			<0.05%

  - Vertical Joint Sag (ANSI A118.3):			Pass

  - Total VOC Content:					≤0.22 mg/m3

  - Cured Epoxy Grout to be chemically and stain resistant to ketchup, mustard, tea, coffee, milk, soda, beer, wine, bleach (5% solution), ammonia, juices, vegetable oil, brine, sugar, cosmetics, and blood, as well as chemically resistant to dilute acids and dilute alkalis.

(Basis of Design: LATICRETE SPECTRALOCK® PRO Premium Grout**)

- Latex Portland Cement Grout to be weather, frost and shock resistant, conform to ISO 13007 requirements for CG2WAF, UL GREENGUARD Gold compliant, as well as meet the following physical requirements:

  - Compressive Strength (ANSI A118.7):			3,500 psi (24.1 MPa)

  - Tensile Strength (ANSI A118.7):			510 psi (3.5 MPa)

  - Flexural Strength (ANSI A118.7):			1,250 psi (8.6 MPa)

  - Water Absorption (ANSI A118.7):			< 5%

  - Linear Shrinkage (ANSI A118.7):			< 0.5 %

  - Smoke & Flame Contribution (ASTM E84 Modified):	0

  - Total VOC Content:					≤0.22 mg/m3

(Basis of Design: LATICRETE PERMACOLOR® Select**)

- Expansion and Control Joint Sealant to be a one component, neutral cure, exterior grade silicone sealant and meet the following requirements:

  - Tensile Strength (ASTM C794):	280 psi (1.9 MPa)

  - Hardness (ASTM D751; Shore A):	25 (colored sealant) /15 (clear sealant)

  - Weather Resistance (QUV Weather-ometer):	10,000 hours (no change)

(Basis of Design: LATICRETE LATASIL™ and LATASIL 9118 Primer)

**   UL GREENGUARD Certified For Low Chemical Emissions (ULCOM/GG 2818) and UL GREENGUARD Gold Certified For Low Chemical Emissions (ULCOM/GG UL 2818)

PART 3 – EXECUTION

  - SUBSTRATE EXAMINATION

NOTE TO SPECIFIER: The project design should include the intended use and necessary allowances for the expected live load, concentrated load, impact load, and dead load including the weight of the finish and installation materials.  In addition to deflection considerations, above-ground installations are inherently more susceptible to vibration. Consult grout, mortar, and membrane manufacturer to determine appropriate installation materials for above-ground installations. A crack isolation and higher quality setting materials can increase the performance capabilities of above-ground applications. However, the upgraded materials cannot mitigate structural deficiencies including floors not meeting code requirements and/or over loading or other abuse of the installation in excess of design parameters;

A.   Verify that surfaces to be covered with large, thin porcelain tile installations:

  - Sound, rigid and conform to good design/engineering practices;

  - Systems, including the framing system and panels, over which thin porcelain tiles will be installed shall be in conformance with the International Residential Code (IRC) for residential applications, the International Building Code (IBC) for commercial applications, or applicable building codes.

  - Clean and free of dust, dirt, oil, grease, sealers, curing compounds, laitance, efflorescence, form oil, loose plaster, paint, and scale;

  - For thin-bed porcelain tile installations when a cementitious bonding material will be used: maximum allowable variation in the tile substrate is 1/8” in 10’ (3mm in 3m) from the required plane, with no more than 1/16” variation in 24” (1.5mm variation in 600mm)  when measured from the high points in the surface. For modular substrate units, such as adjacent concrete masonry units, adjacent edges cannot exceed 1/32” (0.8mm) difference in height.

  - To fully evacuate water, shower pan membranes and bonded waterproofing membranes in wet areas must slope to and connect with a drain. Plumbing code typically requires membranes to be sloped a minimum of ¼” per ft. (6mm per 300mm) and extend at least 3” (75mm) above the height of the curb or threshold. Account for the perimeter floor height required to form adequate slopes. Membranes must be installed over the other horizontal surfaces in wet areas subject to deterioration, like shower seats. They must be sloped and configured so as to direct water to the membrane connected to the drain. The weep holes of clamping ring drains enable water to pass from the membrane into the plumbing system. Crushed Ceramic tile or stone, or other positive weep protectors, placed around/over weep holes help prevent their blockage. To form a watertight seal, membranes must have adequate contact with the clamping ring of the drain or with the bonding area of an integrated bonding flange. Dry as per American Society for Testing and Materials (ASTM) D4263 “Standard Test for Determining Moisture in Concrete by the Plastic Sheet Method.”

  - Not leveled with gypsum or asphalt based compounds

  - For substrates scheduled to receive a waterproofing and/or crack isolation membrane, maximum amount of moisture in the concrete/mortar bed substrate should not exceed 5 lbs./1,000 ft2 / 24 hours (283 µg/s•m2) per ASTM F1869 or 75% relative humidity as measured with moisture probes per ASTM F2170.  Consult with finish materials manufacturer to determine the maximum allowable moisture content for substrates under their finished material. Please refer to LATICRETE TDS 183 “Drying of Concrete” and TDS 166 “LATICRETE and Moisture Vapor Emission Rate, Relative Humidity and Moisture Testing of Concrete”, available at www.laticrete.com, for more information.

- Concrete surfaces shall also be:

  - Cured a minimum of 28 days at 70°F (21°C), including an initial seven (7) day period of wet curing;

  - Wood float finished, or better, if the installation is to be done by the thin bed method;

- Advise General Contractor and Architect of any surface or substrate conditions requiring correction before tile work commences.  Beginning of work constitutes acceptance of substrate or surface conditions.

3.2	SURFACE PREPARATION – FRAMED WALLS

NOTE TO SPECIFIER: edit substrate and preparation section based on project specific surfaces and conditions.

- CEMENTITIOUS BACKER UNIT (CBU) OVER STEEL FRAMING

  - All designs, specifications and construction practices shall be in accordance with industry standards.  Refer to latest editions of:

American Iron and Steel Institute (AISI) “Specification for the Design of Cold-Formed Steel Structural Members” [www.steel.org];

Canadian Sheet Steel Building Institute (CSSBI) “Lightweight Steel Framing Binder {Publication 52M}” [www.cssbi.ca];

Steel Stud Manufacturers Association (SSMA) “Product Technical Information” and “ICBO Evaluation Service, Inc. Report ER-4943P” [www.ssma.com];

Metal Lath/Steel Framing Association “Steel Framing Systems Manual.”

  - Prior to commencing work, installer must submit to Architect/Structural Engineer for approval, shop drawings showing wall/façade construction and attachment details. All attachments must be designed to prevent transfer of building or structural movement to the wall/façade.

  - Construct all framing with galvanized or other rust resistant steel studs and channels; minimum requirements:

Stud Gauge: 16 gauge (1.5mm);

Stud Steel: conforming to ASTM A570 – latest edition with a minimum yield point of 50 ksi;

Stud Spacing: not to exceed 16” (400mm) on center;

Stud Width: 6” (150mm);

Horizontal Bridging: Not to exceed 4’ (1.2m) on center; 16 gauge CR channel typical or as specified by structural engineer.

  - Studs shall be seated squarely in the channel tracks with the stud web and flange abutting the track web, plumbed or aligned, and securely attached to the flanges or web of both the upper and lower tracks by welding. Similarly connect horizontal bridging/purlins and anti-racking diagonal bracing as determined by structural engineer. Grind welds smooth and paint with rust inhibiting paint. Finished frame and components must be properly aligned, square and true.

  - Provide adequate support of framing elements during erection to prevent racking, twisting or bowing.  Lay out the CBU installation so all board edges are supported by metal framing (studs vertically and purlins horizontally).  Cut/fit CBU and add additional framing elements as required to support board edges.  Stagger boards in courses to prevent continuous vertical joints and allow ⅛-3/16” (3-5mm) between sheets.

  - Fasten the CBU with 7/8” (22mm) minimum length, non-rusting, self-imbedding screws for metal studs (BUILDEX( Catalog item 10-24 17/16 Wafer T3Z or equivalent).  Fasten the boards every 6” (150mm) at the edges and every 8” (200mm) in the field. Stagger placement of screws at seams.  Place screws no less than ⅜” (9mm), and no more than 1” (25mm), from board edges.

  - Tape all the board joints with the alkali resistant 2” (50mm) wide reinforcing mesh provided by the CBU manufacturer imbedded in the same mortar used to install the thin porcelain tiles.

  - Compliance with design criteria and state and local building codes must approved and certified by a qualified structural engineer.  Use more stringent design criteria when necessary to comply with state and local building code stiffness requirements for thin veneers.

  - INSTALLATION ACCESSORIES – THIN PORCELAIN TILE

A.	Waterproofing and Crack Isolation Membrane (Liquid-Applied):

NOTES TO SPECIFIER:

- Adhesives/mastics, mortars and grouts for thin porcelain tile installations are not replacements for waterproofing membranes and will not prevent water penetration into occupied or storage spaces below.

- Thin porcelain tiles installed by the thin bed method can be damaged by shrinkage related substrate cracking.  Specify crack isolation membrane to reduce crack propagation into veneers or hard finishes.  Do not use crack isolation membranes if substrate cracking:

- is due to structural movement;

- involves vertical and/or differential movement;

- involves horizontal movement >1/8” (3mm).

Install waterproofing and crack isolation membrane in compliance with current revisions of ANSI A108.1 (2.7 Waterproofing), ANSI A108.13, and ANSI A108.17.  Review the installation and plan the application sequence.  Pre-cut LATICRETE Waterproofing/Anti-Fracture Fabric (if required), allowing 2” (50mm) for overlap at ends and sides to fit the areas as required.  Roll up the pieces for easy handling and placement.  Shake or stir LATICRETE® HYDRO BAN® before using.

Pre-Treat Cracks and Joints - Fill all substrate cracks, cold joints and control joints to a smooth finish using a LATICRETE latex-fortified thin-set.  Alternatively, a liberal coat* of LATICRETE HYDRO BAN applied with a paint brush or trowel may be used to fill in non-structural joints and cracks.  Apply a liberal coat* of LATICRETE HYDRO BAN approximately 8” (200mm) wide over substrate cracks, cold joints, and control joints using a paint brush or heavy napped paint roller.

Pre-Treat Coves and Floor/Wall Intersections - Fill all substrate coves and floor/wall transitions to a smooth finish and changes in plane using a LATICRETE latex-fortified thin-set.  Alternatively, a liberal coat* of LATICRETE HYDRO BAN applied with a paint brush or trowel may be used to fill in cove joints and floor/wall transitions <1/8” (3mm) in width.  Apply a liberal coat* of LATICRETE HYDRO BAN approximately 8” (200mm) wide over substrate cracks, cold joints, and control joints using a paint brush or heavy napped paint roller.

Pre-Treat Drains - Drains must be of the clamping ring type, with weepers as per ASME A112.6.3.  Apply a liberal coat* of LATICRETE® HYDRO BAN® around and over the bottom half of drain clamping ring.  Cover with a second liberal coat of LATICRETE HYDRO BAN.  When the LATICRETE HYDRO BAN dries, apply a bead of LATICRETE LATASIL™ where the LATICRETE HYDRO BAN meets the drain throat.  Install the top half of drain clamping ring. Alternatively, linear drains may better accommodate large, thin porcelain tile installations. Apply LATICRETE HYDRO BAN to the surface of exposed drain flanges, in accord with LATICRETE instructions, and allow to dry completely.

Pre-Treat Penetrations - Allow for a minimum 1/8” (3mm) space between drains, pipes, lights, or other penetrations and surrounding Ceramic tile, stone or brick.  Pack any gaps around pipes, lights or other penetrations with a LATICRETE latex-fortified thin-set.  Apply a liberal coat* of LATICRETE HYDRO BAN around penetration opening.  Cover the first coat with a second liberal coat* of LATICRETE HYDRO BAN.  Bring LATICRETE HYDRO BAN up to level of tile or stone.  When LATICRETE HYDRO BAN has dried to the touch seal with LATICRETE LATASIL™.

Main Application - Allow any pre-treated areas to dry to the touch.  Apply a liberal coat* of LATICRETE® HYDRO BAN® with a paint brush or heavy napped roller over substrate including pre-treated areas and allow to dry to the touch. Install another liberal coat* of LATICRETE HYDRO BAN over the first coat. Let the top coat of LATICRETE HYDRO BAN dry to the touch approximately 1 – 2 hours at 70°F (21°C) and 50% RH.  When the top coat has dried to the touch inspect the surface for pinholes, voids, thin spots or other defects.  LATICRETE HYDRO BAN will dry to an olive green color when fully cured.  Use additional LATICRETE HYDRO BAN to seal any defects.

Movement Joints - Apply a liberal coat* of LATICRETE HYDRO BAN, approximately 8” (200mm) wide over the areas.  Then embed and loop the 6” (150mm) wide LATICRETE Waterproofing/Anti-Fracture Fabric and allow the LATICRETE HYDRO BAN liquid to bleed through.  Immediately apply a second coat of LATICRETE HYDRO BAN.

* Dry coat thickness is 20 – 30 mil (0.02 - 0.03” or 0.5 - 0.8mm); consumption per coat is approximately 0.01 gal/ft2 (approx. 0.4 L/m2); coverage is approximately 100 ft2 /gal (approx. 2.5 m2/ L).  LATICRETE Waterproofing/Anti-Fracture Fabric can be used to pre-treat cracks, joints, curves, corners, drains, and penetrations with LATICRETE HYDRO BAN.

Protection - Provide protection for newly installed membrane, even if covered with a thin-bed Ceramic tile, stone or brick installation against exposure to rain or other water for a minimum of 2 hours at 70°F (21°C) and 50% RH.  For temperatures between 45°F and 69°F (7°C to 21°C) allow a minimum 24 hour cure period.

Flood Testing - Allow membrane to cure fully before flood testing, typically a minimum 2 hours at 70°F (21°C) and 50% RH.  Cold conditions will require a longer curing time.  For temperatures between 50°F and 69°F (10°C to 21°C) allow a minimum 24 hour cure period prior to flood testing.

Use the following LATICRETE System Materials:

LATICRETE HYDRO BAN

References:

LATICRETE Detail Drawings: WP300, WP301, WP302, WP303

LATICRETE Data Sheets: 663.0, 663.5

LATICRETE MSDS: LATICRETE HYDRO BAN, Fabric

GREENGUARD Certificate: LATICRETE HYDRO BAN

LATICRETE Technical Data Sheets: 188, 189, 203

- Waterproofing and Crack Isolation Membrane (Sheet Membrane):

NOTES TO SPECIFIER:

- Adhesives/mastics, mortars and grouts for large thin porcelain tiles are not replacements for waterproofing membranes and will not prevent water penetration into occupied or storage spaces below.

- Obtain approval by local building code authority before specifying LATICRETE HYDRO BAN Sheet Membrane in shower pan applications.

- Large thin porcelain tiles installed by the thin bed method can be damaged by shrinkage related substrate cracking.  Specify crack isolation membrane to reduce crack propagation into veneers or hard finishes.  Do not use crack isolation membranes if substrate cracking:

- is due to structural movement;

- involves vertical and/or differential movement;

- involves horizontal movement >1/8” (3mm).

Measure and cut all of the LATICRETE® HYDRO BAN® Sheet Membrane sections and Sealing Tape strips to the proper size before mixing the substrate appropriate LATICRETE thin-set.

Mix the LATICRETE thin-set to a fairly wet consistency but still able to hold a notch. Dampen excessively dry porous surfaces in order to prevent premature drying and skinning of the thin-set. If skinning does occur remove thin-set and reapply using fresh mortar.

Pre-Treating (Corners and Coves): To create the watertight system, the installation process will rely on the layering of components; start with the corners: Apply thin-set mortar with a ¼”x 3/16” (6 mm x 5 mm) V-notched trowel. Press the LATICRETE® HYDRO BAN® pre-formed corner firmly into the thin-set. Remove any trapped air and guarantee full adhesion to the material by spreading the thin-set from the inside of the corner out using a trowel or straightedge with rounded corners. Continue with thin-set along the floor-to-wall transition from the corner outward for the first strip of LATICRETE HYDRO BAN Sealing Tape. Overlap the corners by 2” (50 mm). Lay the tape and remove all air pockets and excess material as with the corner piece. For any sections where two strips of LATICRETE HYDRO BAN Sealing Tape will be joined, be certain to overlap the material by 2” (50 mm). Continue with these steps around the perimeter of the installation. Treat the vertical corners with the LATICRETE HYDRO BAN Sealing Tape next in the same manner as the floor-to-wall transitions were installed. Overlap the corners by 2” (50 mm).

Pre-Treating (Penetrations): Treat pipe penetrations and mixing valves by applying thin-set mortar with a ¼”x 3/16” (6 mm x 5 mm) V-notched trowel. Slide the appropriate collar over the pipe or mixing valve and press firmly into the thin-set. The urethane rubber will seal around the pipe or mixing valve. Remove any trapped air and guarantee full adhesion to the material by spreading the thin-set from the inside out using a trowel or straightedge with rounded corners.

Main Application: Important, there should not be excessive overlapping. For example, at the corner, the LATICRETE HYDRO BAN Sealing Tape should overlap the LATICRETE HYDRO BAN Preformed Corner but not the adjacent LATICRETE HYDRO BAN Sealing Tape. Continue the same method to install the first LATICRETE HYDRO BAN Sheet Membrane section on the wall. Start in the completed corner and work your way out from the corner to the edge of the installation.  Apply the thin-set to the surface of the wall with the ¼”x 3/16” (6 mm x 5 mm) V-notched trowel. If the surface is uneven, use a square-notched trowel with a wider tooth up to 3/8” (9 mm). Be sure to comb all of the thin-set in the same direction. Install the first length of sheet membrane. It may be easiest to unroll it up the wall or in the direction that you combed the thin-set. Remember to overlap the membrane by a minimum of 2” (5 cm). Be certain to leave at least ¼” (6mm) of space from the floor. Smooth the section of LATICRETE HYDRO BAN® Sheet Membrane with a flat trowel or roller from the middle towards the outside edges to assure that no air is trapped underneath. Follow the direction that the thin-set was combed onto the substrate. Use short, firm strokes to press out all of the excess thin-set and trapped air. Carefully remove or spread the excess thin-set over the seams. Apply the thin-set for the next length of LATICRETE HYDRO BAN Sheet Membrane section. Roll the next length upwards; smoothing it as it is pressed into the thin-set. If a bulge or crease appears during the unrolling, it is OK. Simply peel the section carefully away from the wall and reapply it so that it is flat. The sections are to be well-pressed; the use of a roller is recommended but this can also be accomplished with a flat trowel. Squeeze out any extra thin-set at the seams; remove the excess or spread it uniformly down the seam. The remaining lengths can now be installed in this same manner. Best practice; sections of LATICRETE HYDRO BAN Sheet Membrane should be butt- jointed and the seam between the LATICRETE HYDRO BAN Sheet Membrane sections should be covered with LATICRETE HYDRO BAN Sealing Tape installed with the appropriate thin-set.  Make sure that the LATICRETE HYDRO BAN Sealing Tape overlaps each LATICRETE HYDRO BAN Sheet Membrane section by a minimum of 2” (5 cm). The floor should be the last section installed. NOTE: Sections of LATICRETE HYDRO BAN Sheet Membrane may also be shingled (overlapped) during installation without the need for LATICRETE HYDRO BAN Sealing Tape. The top section must overlap a minimum of 2" (5cm) onto the bottom section of LATICRETE HYDRO BAN Sheet Membrane. If the LATICRETE HYDRO BAN Sheet Membrane is damaged after installation apply a patch of LATICRETE HYDRO BAN Sheet Membrane installed with the appropriate thin-set.  The patch must overlap the damaged area by a minimum of 2” (5 cm). Tiling can begin immediately after installation when a flood test is not required.

Clamping Ring Drains: When installing LATICRETE HYDRO BAN Sheet Membrane with a clamping ring type drains with weepers as per ASME A112.6.3, lay the LATICRETE HYDRO BAN Sheet Membrane over the top of the drain and cut an x where each bolt will penetrate the membrane. Cut a hole in the membrane to allow the drain grate to be threaded into the clamping ring. (Use of a fabric circle cutter is recommended). Install the LATICRETE HYDRO BAN Sheet Membrane, making sure to align the previously cut holes for the bolts and drain throat. Ensure that the weep holes are not blocked. Apply bead of LATASIL™ to the clamping body just outside of the bolts, place clamping ring into position and tighten bolts. Check to make sure that weep holes are not plugged by any material. Alternatively, linear drains may better accommodate large, thin porcelain tile installations. Apply LATICRETE HYDRO BAN to the surface of exposed drain flanges, in accord with LATICRETE instructions, and allow to dry completely.

LATICRETE® HYDRO BAN® Bonding Flange Drains: Follow the instructions in DS 035.0 for the installation of the LATICRETE HYDRO BAN Bonding Flange Drain in either a bonded or unbonded mortar bed. When the mortar is cured enough to walk on, prime the top of the LATICRETE HYDRO BAN Bonding Flange Drain, to the first 90 degree radius, and the adjusting ring with one coat of LATICRETE HYDRO BAN. Once the LATICRETE HYDRO BAN is dried to the touch the LATICRETE HYDRO BAN Sheet Membrane can be installed over it using a LATICRETE® polymer fortified thin-set. Insure that the LATICRETE HYDRO BAN Sheet Membrane extends to the first 90 degree radius of the LATICRETE HYDRO BAN Bonding Flange Drain. Apply thin-set mortar with a 1/4” x 3/16” (6mm x 5mm) V-notched trowel. Press the LATICRETE HYDRO BAN Sheet Membrane firmly into the adhesive. Remove any trapped air and guarantee full adhesion to the material by spreading the adhesive from the inside out using a trowel or straightedge with rounded corners. The adjusting ring is installed with a polymer fortified thin-set when installing the title in order to line up the grate with the tile.

LATICRETE HYDRO BAN Linear Drains: Follow the instructions in DS 034.0 for the installation of the LATICRETE HYDRO BAN Linear Drain in either a bonded or unbonded mortar bed. When the mortar is cured enough to walk on, prime the top of the LATICRETE HYDRO BAN Linear Drain flange, to the first 90 degree radius. Once the LATICRETE HYDRO BAN is dried to the touch the LATICRETE HYDRO BAN Sheet Membrane can be installed over it using a LATICRETE® polymer fortified thin-set. Apply thin-set mortar with a ¼”x3/16” (6 mm x 5 mm) V-notched trowel. Press the LATICRETE HYDRO BAN Sheet Membrane firmly into the adhesive. Remove any trapped air and guarantee full adhesion to the material by spreading the adhesive from the inside out using a trowel or straightedge with rounded corners.

Flood Testing: Allow adhesive to cure fully before flood testing, a minimum of 24 hours after final cure at 70°F (21°C) and 50% RH. Cold and/or wet conditions will require a longer curing time.

Control Joints: Large thin porcelain tile installations must include sealant filled joints between the ceramic tile, stone or brick which is over any control joints in the substrate. However, the sealant filled joints can be offset horizontally by as much as one tile width from the substrate control joint location to coincide with the grout joint pattern.

Movement Joints: Large thin porcelain tile installations must include expansion joints at coves, corners, other changes in substrate plane and over any expansion joints in the substrate. Expansion joints in large thin porcelain tile work are also required at perimeters, at restraining surfaces, at penetrations and at the intervals described in the Tile Council of North America, Inc. (TCNA) Handbook Installation Method EJ171. Use LATICRETE LATASIL™ and backer rod.

Use the following LATICRETE System Materials:

LATICRETE HYDRO BAN Sheet Membrane

References:

LATICRETE Detail Drawings: B300S, B411S, B412S Pan, B412S Tub, B413S, B414S, B415S, B415LDS-Bonded Wall, B415LDS EGP-Bonded Wall, B415LDS EGP CBB-Bonded Wall, B415LDS EGP Unbonded Medial, B415LDS Unbonded Medial, B419S, B420S, B421S, B425S, B426S, B430S, B431S, B440S, B441S, SR613S, SR614S

LATICRETE Data Sheets: 041.0

- LATICRETE® HYDRO BAN® Board (Interior Installation Only):

WALLS:

Fastening (Wood Studs) - Nominal Dimensions – 2 inch x 4 inch (5 x 10 centimeters) minimum with maximum span of 16 inches on-center. Use a minimum of ½ inch (12 millimeter) LATICRETE® HYDRO BAN® Board, for 19.2 inch on-center stud spacing use a minimum of 5/8 inch (16millimeter) board. Fasten boards directly to studs using either LATICRETE HYDRO BAN Board 1 ¼ inch (32 millimeter) tab washer and the appropriate length LATICRETE HYDRO BAN Board screw for the thickness of the LATICRETE HYDRO BAN Board. Fasteners should be spaced 8 inches on-center. (20 centimeters). All fastener heads to be countersunk flush with surface of the board. Where two boards meet, the LATICRETE HYDRO BAN Board tab washer and LATICRETE HYDRO BAN Board screw are to span the interface.

Fastening (Steel Studs) - Minimum thickness – 25 gauge with maximum span of 16 inches on-center (41 centimeters). Use a minimum of ½ inches (12 millimeters) LATICRETE HYDRO BAN Board, for 19.2 inch on-center stud spacing use a minimum of 5/8 inch (16 millimeter) board. Fasten boards directly to studs using the LATICRETE® HYDRO BAN® Board 1 ¼ inch tab washer and 1 5/8 inch LATICRETE HYDRO BAN Board screw. Fasteners should be spaced 8 inches on-center (20 centimeters). All washers are to be countersunk flush with surface of the board. Where two boards meet, the LATICRETE HYDRO BAN Board tab washer and LATICRETE HYDRO BAN Board screw are to span the interface.

Installation (Option 1): The following steps must be followed to maintain the waterproof integrity of LATICRETE HYDRO BAN Board. Beginning at the bottom of the wall, install LATICRETE HYDRO BAN Board to the wall studs by using the appropriate fastener and spacing outlined in the fastening section above. For tub walls and installations with LATICRETE HYDRO BAN Pre-Sloped Shower Pans first apply a bead of LATICRETE HYDRO BAN Adhesive & Sealant along the top edge of the tub or in the rabbet joint for the LATICRETE HYDRO BAN Pre-Sloped Shower Pans and then install the LATICRETE HYDRO BAN Board. For a waterproof system using LATICRETE HYDRO BAN embed 2 inch (50 millimeter) fiberglass mesh with LATICRETE HYDRO BAN liquid waterproofing membrane in all panel joints. All fasteners must be completely covered with LATICRETE HYDRO BAN liquid waterproofing membrane to form a seal. Allow 1st coat to dry and apply 2nd coat over all joints, corners and fasteners.

Installation (Option 2): Fasten boards in same manner as outlined in OPTION 1. For tub walls and installations with LATICRETE HYDRO BAN Pre-Sloped Shower Pans first apply a bead of LATICRETE HYDRO BAN Adhesive & Sealant along the top edge of the tub or in the rabbet joint for the LATICRETE HYDRO BAN Pre-Sloped Shower Pans and then install the LATICRETE HYDRO BAN Board. To create a watertight system using LATICRETE HYDRO BAN Sealing Tape, Inside or Outside Corners and Collars start with the corners. Apply a suitable LATICRETE polymer fortified thin-set mortar with a ¼ inch x 3/16 inch (6 millimeter x 5 millimeter) V-notched trowel. Press the pre-formed corner firmly into the adhesive. Remove trapped air and guarantee full adhesion to the material by spreading the adhesive from the inside out using a trowel or straightedge with rounded corners. Continue with thin-set along the floor-to-wall transition from the corner outward for the first strip of LATICRETE HYDRO BAN Sealing Tape. Overlap the corners by a minimum of 2 inches (50 millimeters). Lay the LATICRETE HYDRO BAN Sealing Tape and remove all air pockets and excess material as with the corner piece. For any sections where two strips of LATICRETE HYDRO BAN Sealing Tape will be joined, be certain to overlap the material by 2 inches (50 millimeters). Continue with these steps around the perimeter of the installation. Treat the vertical corners for the LATICRETE HYDRO BAN® Sealing Tape next in the same manner as the floor-to-wall transitions were installed. Overlap the corners by a minimum of 2 inches (50 millimeters). Treat pipe penetrations and mixing valves by applying thin-set mortar with a ¼ inch x 3/16 inch (6 millimeter x 5 millimeter) V-notched trowel. Slide the appropriate LATICRETE HYDRO BAN Collar over the pipe or mixing valve and press firmly into the adhesive. The urethane rubber will seal around the pipe or mixing valve. Remove any trapped air and guarantee full adhesion to the material by spreading the adhesive from the inside out using a trowel or straightedge with rounded corners. Fastener penetrations can be covered with LATICRETE HYDRO BAN Sealing Tape using a LATICRETE polymer fortified thin-set. Important, there should not be excessive overlapping. For example, at the corner, the LATICRETE® HYDRO BAN® Sealing Tape that leaves the corner and protects the floor-to-wall transitions should overlap with the pre-formed corner piece, but not the pre-formed corner piece and the adjacent LATICRETE HYDRO BAN Sealing Tape.

CEILINGS:

Framing members not exceed 16 inches on-center (41 centimeters). Use a minimum of ½ inch (12 millimeter) thick LATICRETE HYDRO BAN Board. Ensure that edges of LATICRETE HYDRO BAN Board are continuously supported. Fasten boards as outlined in FASTENING section for WALL applications.

TUB SURROUNDS:

Installation - When installing LATICRETE HYDRO BAN Board to tub surrounds choose the appropriate thickness required for the application. LATICRETE HYDRO BAN Board must be attached to the framing members, which is load bearing and fully supported, and be installed over the lip of the tub. Follow fastening and installation instructions above for walls.

Use the following LATICRETE System Materials:

LATICRETE HYDRO BAN Board

References:

LATICRETE Data Sheets: 040.0

LATICRETE MSDS: LATICRETE HYDRO BAN Board

- LATICRETE® HYDRO BAN® Linear Drain: Consult LATICRETE current published product data sheet (DS 034.0) for detailed design and installation instructions at www.laticrete.com.

  - INSTALLATION – LARGE THIN PORCELAIN TILE

NOTES TO SPECIFIER:

- Exterior adhered veneer installation techniques can be performed in several ways depending upon the finish type. Specifier to select one of the following installation methods, based on finish type(s) project specific requirements.

- The optimum conditions for installation of direct adhered cladding are temperatures between 60° and 80°F (16° and 27°C), with 50% relative humidity and minimal wind. However, these conditions are atypical, so provisions must be made for variations in climatic conditions.

- Protection and corrective action primarily requires temporary enclosures or tarpaulins prior to, during, and immediately after installation to shield from rain. If prolonged exposure occurs, surfaces that appear dry may be saturated internally and require testing to determine suitability of certain overlay substrates, membranes or adhesives. Protection applies to the substrate, the installation of adhesives and joint grouts, post-installation (rain and temperature protection) until suitable cure, and also the storage and handling of the cladding material. For every 18°F (10°C) above 70°F (21°C) cementitious and epoxy materials cure twice as fast. For every 18°F (10°C) below 70°F (21°C) cementitious and epoxy materials take twice as long to cure.

- Tent / shade and heat areas that will be subjected to the elements and /or freezing temperatures during installation and cure periods.

- In addition to installing waterproofing membrane where required, provide proper architectural detailing (water-stops, flashings, weeps, etc.) to conduct water to the building exterior, especially at critical areas such as window heads/sills, penetrations and parapet walls

- Consult LATICRETE TDS 176M “Hot Weather Veneer Installations”, available at www.laticrete.com, for more information.

- Consult LATICRETE TDS 175M “Cold Weather Veneer Installation”, available at www.laticrete.com, for more information.

- General: Install in accordance with current versions of American National Standards Institute, Inc. (ANSI) “A108 American National Standard Specifications for Installation of Ceramic Tile” and TCNA “Handbook for Ceramic, Glass, and Stone Tile Installation.”  Cut and fit porcelain tiles neatly around corners, fittings, and obstructions.  Perimeter pieces to be minimum half tile width. Chipped, cracked, split pieces and edges are not acceptable.  Make joints even, straight, plumb and of uniform width to tolerance +/- 1/16" over 8’ (1.5mm in 2.4m). Install divider strips at junction of flooring and dissimilar materials.

B.	Vapor Reduction Coating:

Surface Preparation – Concrete slabs must be clean, structurally sound, absorptive, and have an ICRI concrete surface profile (CSP) of 3 - 5. All dirt, oil, paint, laitance, efflorescence, sealers, curing compounds and any other bond breaking contaminants must be removed down to the full depth of contamination by shot blasting or other mechanical means then swept and vacuumed clean. Use of chemicals to remove contaminants is prohibited. Use of sweeping compound is not recommended as they may contain oil which will act as a bond breaker. Do not use over gypsum or asphalt based products. Per ASTM F3010, concrete slab to receive LATICRETE® NXT™ Vapor Reduction Coating must have a tensile pull-off strength of 200 psi (1.4 MPa) or greater when tested in accordance with ASTM C1583. Surface temperature must be 50–90°F (10–32°C) during application and for 24 hours after installation. In all cases, the surface temperature of the prepared concrete slab must be warm enough to avoid condensation on the surface of the concrete.

Joints, Cracks, Surface Depressions and Other Irregularities - All joints and cracks should be evaluated and repaired if necessary prior to installation of LATICRETE NXT Vapor Reduction Coating. A good crack repair technique depends on knowing the causes and selecting appropriate repair procedures that take these causes into account. Repairing a crack without addressing the cause may only be a temporary fix. Successful long-term repair procedures must address the causes of the cracks as well as the cracks themselves. Refer to ACI 224.1R-07 for guidance on evaluation and repair of cracks in concrete. LATICRETE product application over moving cracks and joints is not recommended.

1. Moving joints (e.g. expansion joints, isolation joints, etc.) and dynamic (moving) cracks must be honored up through the LATICRETE® NXT™ Vapor Reduction Coating. LATICRETE is not responsible for vapor emission through untreated joints or for areas where cracks may develop later.

2. All non-moving joints and dormant cracks (e.g. saw cuts, surface cracks, grooves, control joints, etc.) must be cleaned out and free of all loose debris. Non-structural cracks up to 1/8" (3 mm) in width can be filled with LATICRETE NXT Vapor Reduction Coating epoxy during main application. Inspect these areas to ensure cracks are completely filled with no voids.

Non-moving joints, dormant cracks greater than 1/8" (3 mm) wide, can be patched with mixture of 1 part LATICRETE NXT Vapor Reduction Coating and 3 parts clean, washed play sand. In a suitable container, such as an empty NXT Vapor Reduction Coating pail, pour 1 part LATICRETE NXT Vapor Reduction Coating pre-blended to 3 parts clean, washed play sand, using a 300 rpm drill with jiffy paddle, mix together for 2-3 minutes until the LATICRETE NXT Vapor Reduction Coating and qualified sand mixture is consistent. Slowly pour the mixture into the crack, using the flat side of a trowel force the epoxy/sand mixture into the crack. Surface crazing and hairline cracks do not need filling. Construction Joints, Expansion Joints and Large moving cracks that have lost aggregate lock (one side of crack is higher than the other) have structural implications and cannot be repaired using this method.

Moisture Evaluation - Moisture testing must be conducted in accordance with finish floor goods and adhesive manufacturers’ requirements prior to LATICRETE NXT Vapor Reduction Coating application. When evaluating moisture conditions the HVAC system or a temporary enclosure must be operational and in place for the minimum specified time period recommended in the moisture test standard. The concrete floor slabs and the ambient air space above the floor must be at service temperature and relative humidity for at least 48 hours before taking moisture measurements in the concrete slab. These conditions must remain throughout the test period to ensure accurate results.

| MVER/ RH | Mil Thickness | ft2 /gal (m2/L) |
| --- | --- | --- |
| ≤25 lbs. (1415 µg)/ 100% | 12 | 133 (3.2) |
| Each full unit will yield approximately 865 ft2 (80.1 m2) **. Each mini unit will yield approximately 319 ft2 (29.5 m2) **. |

Mixing - Before using, store resins at room temperature 65-85°F (18-30°C) for 24 hours to ensure ease of mixing. Mix Components A and B at a ratio of 1:2.3 by volume (components are packaged into the pails to the specified ratio). Pour the A component into the larger B component steel pail. Verify that all of the Part A liquid is drained from pail. Mix with a slow speed drill (<300 RPM) with a jiffy blade for 3 minutes, assuring mixture is fully uniform and that all ribbons of contrasting shade are completely eliminated. Pour the fully mixed material onto the substrate immediately after mixing.

Application - Pour ribbons of LATICRETE® NXT™ Vapor Reduction Coating onto the prepared concrete and spread using appropriate round or square notch squeegee that is designed to apply the desired mil thickness in a single coat. Apply an even coat making sure to cover all areas thoroughly. Immediately following, while epoxy is still wet, use a high quality 3/8” (9 mm) nap non-shedding paint roller to back-roll at 90⁰ from the squeegee direction to help ensure full coverage and uniform thickness. Replace worn squeegee blades and paint rollers when necessary to help ensure proper application. Use a paint brush to apply epoxy around penetrations, columns, and any other obstructions. Periodically check mil thickness using a LATICRETE NXT Wet Film Thickness Gauge. Allow to cure for 12 hours at 50-90°F (10-32°C) prior to installation of underlayment or finish flooring. Always consult flooring and adhesive manufacturer’s installation instructions, restrictions and confirm compatibility with LATICRETE NXT Vapor Reduction Coating. Always test performance and compatibility of floor systems prior to application.

Coverage - Each full unit will yield approximately 650 - 1040 ft2 (60.4 – 96.3 m2). Each mini unit will yield approximately 240 - 360 ft2 (22.2 – 33.3 m2).

Flooring and Self Leveling Underlayments Installation - In all cases the LATICRETE NXT Vapor Reduction Coating surface must be protected from traffic, dust, debris, rain, and any other contaminants. LATICRETE NXT self-leveling underlayments shall be installed over LATICRETE NXT Vapor Reduction Coating as soon as the epoxy is slightly tacky to the touch with no transfer; typically 12 hours after application depending on ambient and substrate conditions. The maximum time to install LATICRETE® NXT™ self-leveling underlayments over LATICRETE NXT Vapor Reduction Coating is 24 hours. If LATICRETE NXT Vapor Reduction Coating is left open longer than 24 hours or the surface becomes contaminated, contact LATICRETE Technical Sales Representative. LATICRETE NXT self-leveling underlayments require the use of LATICRETE NXT Primer. Refer to TDS 230N for detailed primer installation instructions. If finish floor goods are to be installed directly on top of LATICRETE NXT Vapor Reduction Coating, then the epoxy surface must be allowed to cure until non-tacky to the touch, typically after a minimum of 24 hours. Always refer to finished floor manufacturer’s recommendations regarding installation instructions, restrictions, moisture conditions and compatibility. Always test performance suitability and compatibility of finished floor systems prior to their application. Sample surfaces should be installed as a field test so as to be representative of entire surface and tested for intended use.

Use the following LATICRETE System Materials:

LATICRETE NXT Vapor Reduction Coating

References:

LATICRETE Data Sheet: 507.0

LATICRETE MSDS: Part A; Part B

- Bonded Thick Bed Method (Floor): Verify 1“(25mm) nominal bed thickness has been allowed.  Apply LATICRETE 254 Platinum with a flat trowel as a slurry bond coat approximately 1/16” (1. 5mm) thick over clean concrete slab, in compliance with current revision of ANSI A108.1A (2.2 and 5.2).  Place LATICRETE 3701 Fortified Mortar over slurry bond coat while LATICRETE 254 Platinum slurry bond coat is wet and tacky.  Omit reinforcing wire fabric and fully compact bed by tamping. Clean excess mortar/adhesive from finished surfaces.  Allow latex-Portland cement mortar beds to cure for a minimum of 7 days at 70°F (21°C) prior to installing large, thin porcelain tiles. For installation of large thin porcelain tiles over cured (pre-floated) latex-Portland cement thick bed mortar, follow appropriate “Thin Bed Method.”

Use the following LATICRETE System Materials:

LATICRETE 3701 Fortified Mortar

LATICRETE 254 Platinum

References:

LATICRETE Data Sheets: 100.0; 677.0

LATICRETE MSDS: 3701FMB; 254

GREENGUARD Certificates:  3701FMB, 254

LATICRETE Technical Data Sheets: 106, 114, 154, 204

- Thick Bed (Wire Reinforced) Method: Minimum bed thickness of 2” (50mm) must be maintained.  Place latex-Portland cement thick bed mortar to a depth approximately one-half finished bed thickness in compliance with current revision of ANSI A108.01 (3.2.1.1 & 3.2.4) and A108.1B.  Lay 2” x 2” (50mm x 50mm), 16 gauge (1.5mm), galvanized, welded reinforcing wire fabric, complying with ANSI A108.02 (3.7) and ASTM A185, over mortar.  Place additional thick bed mortar over wire fabric and compact mortar by tamping with flat trowel.  Screed mortar bed level and provide correct slopes to drains. Clean excess mortar/adhesive from finished surfaces. Allow latex-Portland cement mortar beds to cure for a minimum of 7 days at 70°F (21°C) prior to installing large, thin porcelain tiles. For installation of large thin porcelain tiles over cured (pre-floated) latex-Portland cement mortar bed, follow appropriate “Thin Bed Method.”

Use the following LATICRETE® System Materials:

LATICRETE® 3701 Fortified Mortar

LATICRETE 254 Platinum

References:

LATICRETE Data Sheets: 100.0; 677.0

LATICRETE MSDS: 3701FMB; 254

GREENGUARD Certificates:  3701FMB, 254

LATICRETE Technical Data Sheets: 106, 114, 204

- Self-Leveling Underlayment: Use LATICRETE NXT™ Level Plus, and related LATICRETE NXT Primer, as a self-leveling underlayment to attain proper floor flatness.

Surface Preparation - Concrete slabs must have a minimum ICRI concrete surface profile (CSP) of 3. For more detailed ICRI CSP information refer to ICRI Guideline No. 03732. Use of chemicals to remove contaminants or to create a surface profile is not recommended. Use of a sweeping compound is not recommended as they may contain oil which will act as a bond breaker. Additionally, concrete slabs must readily absorb water, be clean, free of oil, wax, grease, sealers, curing compounds, asphalt, paint, deicing agents, dust, dirt, loose surface material and any other contaminant that will act as a bond breaker.  In addition, tensile strength testing of the concrete substrate, per ASTM C1583 or ICRI Guideline No. 03739, must show a minimum of 100 psi (0.7 MPa) tensile strength prior to installation of LATICRETE® self-leveling underlayment.  Any areas that do not meet 100 psi (0.7 MPa) tensile strength must be removed and repaired.

General Priming Information: All surfaces must be primed prior to the installation of LATICRETE NXT™ self-leveling underlayments. LATICRETE® NXT™ Primer is a concentrate and must be diluted with clean potable water prior to application. Dilution ratio and application methods vary depending on substrate. Always stir or shake LATICRETE NXT Primer concentrate prior to diluting. Mix primer with clean potable water according to the LATICRETE NXT Primer DILUTION / APPROXIMATE COVERAGE chart below. Water must always be carefully measured in order to ensure proper dilution is achieved. Use a mixing paddle to thoroughly combine primer and water. LATICRETE NXT Primer can be broom, roller, mop, or spray applied. Substrate temperature must be a minimum 40°F (4°C) during primer application and throughout drying time. Additionally, air temperature must be maintained between 50–90°F (10–32°C) during primer application and throughout drying time. The primed surface must also be protected from weather, water and direct sunlight.

| LATICRETE NXT™ Primer DILUTION / APPROXIMATE COVERAGE | WATER DROP TEST The water drop test described in this document is a subjective, qualitative test that may be conducted in order to help an experienced contractor form an opinion as to how a slab should be primed. However, this test may not be definitive. To help determine the appropriate primer dilution, properly prepare slab in accordance with this guide then apply several dime to quarter size drops of water to properly prepared surface and observe. High-Suction = Water completely absorbs into surface within 15 seconds; surface may appear dark and wet with no visible water remaining on surface Normal-Suction = Water absorbs or partially absorbs within 30 seconds but not less than 15 seconds; bead of water may slowly shrink as it absorbs while dark, wet spot on surface slowly expands Non-Suction = Water beads up and does not absorb at all within 30 seconds; bead of water does not shrink or absorb, wet spot on surface does not expand |
| --- | --- |
| SUITABLE SUBSTRATES | Primer to Water Ratio1 | Approximate Coverage2 |  |
| Normal Suction: Concrete | 1:3 | 400 ft² (37 m²) |  |
| High-Suction: Highly Porous Concrete / Cement Underlayments / Cement Mortar Beds | 1st coat: 1:5 2nd coat: 1:3 | 200 ft² (19 m²) |  |
| Non-Suction: Ceramic, Stone, Quarry Tile / VCT, VAT, Sheet Vinyl / Cement Terrazzo | 1:1 with slurry | 285 ft² (26 m²) |  |
| LATICRETE NXT Vapor Reduction Coating or Approved Moisture Mitigation Systems3 | 1:1 with slurry | 285 ft² (26 m²) |  |
| Dilution Ratio = Primer: Water Approximate coverage in square feet per gallon of concentrated Primer Moisture Mitigation System may require specific Primer to be used. Consult with moisture mitigation system manufacturer for details. |  |
| LATICRETE NXT™ Primer DILUTION / APPROXIMATE COVERAGE | WATER DROP TEST The water drop test described in this document is a subjective, qualitative test that may be conducted in order to help an experienced contractor form an opinion as to how a slab should be primed. However, this test may not be definitive. To help determine the appropriate primer dilution, properly prepare slab in accordance with this guide then apply several dime to quarter size drops of water to properly prepared surface and observe. High-Suction = Water completely absorbs into surface within 15 seconds; surface may appear dark and wet with no visible water remaining on surface Normal-Suction = Water absorbs or partially absorbs within 30 seconds but not less than 15 seconds; bead of water may slowly shrink as it absorbs while dark, wet spot on surface slowly expands Non-Suction = Water beads up and does not absorb at all within 30 seconds; bead of water does not shrink or absorb, wet spot on surface does not expand |
| SUITABLE SUBSTRATES | Primer to Water Ratio1 | Approximate Coverage2 |  |
| Normal Suction: Concrete | 1:3 | 400 ft² (37 m²) |  |
| High-Suction: Highly Porous Concrete / Cement Underlayments / Cement Mortar Beds | 1st coat: 1:5 2nd coat: 1:3 | 200 ft² (19 m²) |  |
| Non-Suction: Ceramic, Stone, Quarry Tile / VCT, VAT, Sheet Vinyl / Cement Terrazzo | 1:1 with slurry | 285 ft² (26 m²) |  |
| LATAPOXY® 312 Vapor Reduction Membrane or Approved Moisture Mitigation Systems3 | 1:1 with slurry | 285 ft² (26 m²) |  |
| Dilution Ratio = Primer: Water Approximate coverage in square feet per gallon of concentrated Primer Moisture Mitigation System may require specific Primer to be used. Consult with moisture mitigation system manufacturer for details. |  |

Normal Suction Concrete: Dilute LATICRETE® NXT™ Primer 1:3 (1 part primer to 3 parts water). Apply a single coat of diluted Primer/water mix to the point of refusal so that the substrate is completely covered and small puddles form in low spots. While LATICRETE NXT Primer is still wet use a push broom to work primer into the substrate so that puddles are spread evenly over the surface, absorbed and a uniform film has been applied. Remove any remaining puddles by brooming and spreading over the surface. Then proceed below to the All Suitable Substrates and Protect Primer Application sections.

High-Suction Concrete: Apply two coats of LATICRETE NXT Primer allowing adequate time to dry between coats. For the first coat, dilute LATICRETE NXT Primer 1:5 (1 part primer to 5 parts water). Apply first coat of diluted primer/water mix to the point of refusal so that the substrate is completely covered and small puddles form in low spots. While primer is still wet use a push broom to work primer into the substrate so that puddles are spread evenly over the surface, allowed to absorb and a uniform film remains on the surface. Remove any remaining puddles by brooming and spreading over the surface. Allow the primer to dry. The first coat is considered dry when a minimum of 3 hours dry time has elapsed, the primer turns from milky white to clear, is dry to the touch, and there is no release of primer from the substrate. First coat must not be opened to trade traffic prior to installation of second coat. If the primed floor becomes contaminated by trade traffic, construction dust, debris, or any other bond inhibiting substance, or is exposed to water/excessive moisture prior to second coat application, the contaminated first coat of Primer must be completely removed by shot blasting, scarification or other mechanical means, properly re-primed and allowed to dry.

For the second coat, dilute LATICRETE® NXT™ Primer 1:3 (1 part primer to 3 parts water). Apply second coat of diluted primer/water mix to the point of refusal so that the substrate is completely covered and small puddles form in low spots. While second coat of primer is still wet use a push broom to work primer into the substrate so that puddles are spread evenly over the surface and a uniform film has been applied. Then follow the All Suitable Substrates and Protect Primer Application sections.

Non-Suction Substrates: Non-Suction substrate primer dilution and application instructions are intended for Ceramic tile, quarry tile, VCT, VAT, sheet vinyl and moisture mitigation systems that have been properly prepared in accordance with this guide and moisture mitigation manufacturer's instructions. Concrete slabs that are considered Non-Suction will require additional preparation prior to primer application. See Non-Suction Concrete in the Substrate Types/General Requirements section for more information.

Dilute LATICRETE NXT Primer 1:1 (1 part Primer to 1 part water). Apply a single coat of diluted primer/water mix to the point of refusal so that the substrate is completely and evenly covered. While primer is still wet and white, immediately lightly scatter LATICRETE NXT self-leveling dry powder into the wet primer. Using a push broom, work the dry powder into the wet primer/water mixture forming a slurry. Continue to broom so that puddles are spread evenly over the surface and a uniform film has been applied. Then follow All Suitable Substrates and Protect Primer Application.  For more information on this method contact the Technical Service Department.

LATICRETE® NXT™ Vapor Reduction Coating / Moisture Mitigation Systems: Ensure that an acceptable system has been installed in accordance with manufacturer’s instructions. If mitigation system manufacturer requires the use of a specific Primer, follow manufacturer’s priming instructions using the required primer. If LATICRETE NXT primer will be used follow Non-Suction Priming instructions.

LATICRETE NXT Underlayments and other Cement Mortar Beds: Follow High-Suction priming instructions for priming on top of LATICRETE NXT underlayments and other cement mortar beds.

All Suitable Substrates: Remove any remaining puddles by brooming and spreading evenly over the surface. Allow the LATICRETE NXT Primer to completely dry for a minimum of 3 – 5 hours at 70°F (21°C) and 50% Relative Humidity. LATICRETE NXT Primer coat is considered dry when a minimum of 3 hours dry time has elapsed, the primer turns from milky white to clear, is dry to the touch, and there is no release of primer from the substrate. Surface may feel slightly tacky. Drying time will vary depending on surface and ambient air conditions. Substrate temperature must be a minimum 40°F (4°C) during primer application and throughout drying time. Additionally, air temperature must be maintained between 50–90°F (10–32°C) during primer application and throughout drying time. Primer must also be protected from weather and direct sunlight. Temperatures below 70°F (21°C) and/or relative humidity above 50% will increase drying time. Insufficient drying or poor film formation will result in pinholes and poor bond strength and may cause LATICRETE NXT self-leveling underlayment to debond. If primer dries within 30 minutes or if a 24 hour period is exceeded after primer application, the surface must be primed again.

Protect Primer Application: When walking over new primer application prior to installation of a LATICRETE NXT self-leveling underlayment, shoes must be protected with clean, slip-on type booties (i.e. Tyvek). Primed floor must not be opened to trade traffic prior to installation of LATICRETE NXT underlayments If the primed floor becomes contaminated by trade traffic, construction dust, debris, or any other bond inhibiting substance, or is exposed to water/excessive moisture prior to second coat application, the contaminated first coat of primer must be completely removed by shot blasting, scarification or other mechanical means, properly re-primed and allowed to dry.

Mixing – LATICRETE NXT Level Plus should be mixed with 5.0 – 5.5 quarts (4.7–5.2 ℓ) of water per 55 lb. (25 kg) bag. Do not over water. For manual application, add product to water and mix for 2–3 min with a heavy duty drill (650 rpm) to obtain a lump free mix. LATICRETE NXT Level Plus can also be used in most pump equipment. Please consult with a LATICRETE representative to verify equipment compatibility. A flow test should always be performed to ensure that the mix is homogeneous and free from separation. The ideal flow range for LATICRETE NXT Level Plus is 11–12" (280 – 300 mm) using a LATICRETE Flow Test Kit. See TDS 235N –Flow Test Method - for more detailed instructions on performing flow tests.

Perimeter Isolation Strip - It is essential that all walls and building elements are isolated from the self- leveling underlayment pours to ensure proper expansion allowance against all restraining surfaces.  Note: It is recommended to install a perimeter isolation strip before the installation of LATICRETE NXT Level Plus.   Attach the perimeter isolation strip to the perimeter wall of the entire subfloor, as well as around the perimeter of any protrusions, in order to isolate the floor and wall/restraining surfaces. Temporarily fasten perimeter isolation strip in place with staples masking, duct, or carpet tape. The perimeter isolation strip can then be removed after the tiles have set firm. The joints can then be filled with LATICRETE LATASIL™.

Main Application - Substrate temperature should be between 40-90°F (4-32°C) during application and air temperature maintained between 50–90°F (10–32°C).  Protect areas from direct sunlight. Do not use damp curing methods or curing and sealing compounds. If required to meet level tolerances, survey surface using a digital or electronic leveling device and apply level pegs as required. Adequate ventilation should be provided to ensure uniform drying. Pump or pour blended material onto substrate at an average thickness ranging between 1/8" to 1 1/4" (6–32 mm) for all surfaces. Immediately following placement lightly smooth the surface and pour lines, when not using elevation pins the use of a gauge rake will assist in controlling material depth. Do not expose LATICRETE self-leveling underlayments to rolling dynamic loads, such as forklifts or scissor lifts, for at least 72 hours after installation. Proper application is the responsibility of the user.  Floor will be ready for foot traffic in 1-4 hours. Finished floor goods may be installed as soon as 16 hours after application of LATICRETE NXT Level Plus, subject to thickness, drying conditions and type of flooring materials.  Coverage will be dependent upon relative rough-ness of substrate, but the following is typical: 1/8” thickness is approximately 49 ft2; 1/4” thickness is approx. 24 ft2; 1/2" thickness is approx. 12 ft2

Use the following LATICRETE® System Materials:

LATICRETE® NXT™ LEVEL PLUS

LATICRETE NXT PRIMER™

References:

LATICRETE Data Sheets: 505.0; 502.0

LATICRETE MSDS: NXT PRIMER; NXT LEVEL PLUS

- Pre-float Method:  Over clean, dimensionally stable and sound concrete or masonry substrates, apply thick-bed mortar as scratch/leveling coat in compliance with current revision of A108.1A (1.0, 1.4 & 5.1).  Float surface of scratch/leveling coat plumb, true and allow mortar to cure for 72 hours at 70 degrees Fahrenheit / 21 degrees Celsius.  For installation of large, thin porcelain tile follow appropriate “Thin Bed Method.”

Use the following LATICRETE System Materials:

LATICRETE 3701 Fortified Mortar

LATICRETE 254 Platinum

References:

LATICRETE Data Sheets: 100.0, 677.0

LATICRETE MSDS: 3701FMB, 254

GREENGUARD Certificates:  3701FMB, 254

LATICRETE Technical Data Sheets: 105, 106, 114, 118, 122, 128, 130, 143, 199, 204

- Lath & Plaster Method: Install cleavage membrane complying with current revision of ANSI A108.02 (3.8 Membrane or cleavage membrane).  Install metal lath complying with the current revision of ANSI A108.01 (3.3 Requirements for lathing and Portland cement plastering), ANSI A108.02 (3.6 Metal lath) and A108.1A (1.0 – 1.2, 1.4, & 5.1).  Apply latex-Portland cement mortar as scratch/leveling coat over wire lath, concrete or masonry in compliance with current revision of ANSI A108.01 (3.3.5.1) and A108.1A (1.4).  Float surface of scratch/leveling coat plumb, true and allow mortar to cure for 72 hours at 70 degrees Fahrenheit / 21 degrees Celsius.  For installation of large, thin porcelain tile, follow appropriate “Thin Bed Method.”

Use the following LATICRETE® System Materials:

LATICRETE 3701 Fortified Mortar

LATICRETE 254 Platinum

References:

LATICRETE Data Sheets: 100.0, 677.0

LATICRETE MSDS: 3701FMB, 254

GREENGUARD Certificates:  3701FMB, 254

LATICRETE Technical Data Sheets: 105, 106, 114, 118, 122, 130, 199, 204

- Thin Bed Method (walls and floors):  Installations are to comply with current revisions of ANSI A108.02, A108.1B and ANSI A108.5.  Select an appropriately-sized ‘Euro-notch’ trowel (e.g. Tile Masters’ 1Y, 1YW, or 2YW trowels) or slant-notch trowel (e.g. Raimondi 5/16” x 5/16” or 8mm x 8mm) that will provide full bedding and coverage to the backs of the tiles. Use flat side of trowel to apply the adhesive mortar into full contact with the substrate. Immediately following, apply mortar with notched side of trowel. Spread only as much mortar as can be covered while the mortar surface is still wet and tacky. Mortar is to be applied to the panel backs using the notch side of the trowel. Trowel ridges on both the panel backs and substrate must be parallel to each other when panels are installed to assist in achieving 100% adhesive coverage to panel backs. Floor installations: Stand on the center of the panel and use short “shuffle-steps,” back-and-forth along the shortest panel dimension, to ensure complete mortar coverage and collapse mortar ridges. Floor and wall installations: Additionally, use vibrating palm sanders, with pads, to assist with releasing entrapped air from the beneath the panels and ensure complete mortar coverage beneath the panel edges. Use mechanical edge-leveling systems to help minimize lippage between panel edges and ensure complete mortar coverage under panel edges. Consult edge-leveling system manufacturer for detailed instructions on use of their various systems. Clean excess latex Portland-cement mortar from faces of porcelain slabs and joints between pieces, immediately. Allow installation to cure for minimum 72 hours at 70° F (21° C), prior to grouting.

Use the following LATICRETE® System Materials:

LATICRETE® 254 Platinum

References:

LATICRETE Data Sheet: 677.0

LATICRETE MSDS: 254

GREENGUARD Certificate:  254

LATICRETE Technical Data Sheets: 105, 118, 129, 209

- Epoxy Thin Bed Method (steel walls and floors): For clean, rigid, steel substrates, install large porcelain slabs using LATAPOXY® 300 Adhesive. Install epoxy adhesive in compliance with current revisions of ANSI A108.02 (3.14) and ANSI A108.6.  Select an appropriately-sized ‘Euro-notch’ trowel (e.g. Tile Masters’ 1Y, 1YW, or 2YW trowels) or slant-notch trowel (e.g. Raimondi 5/16” x 5/16” or 8mm x 8mm) that will provide full bedding and coverage to the panel backs. Use flat side of trowel to apply the adhesive mortar into full contact with the substrate. Immediately following, apply mortar with notched side of trowel. Spread only as much mortar as can be covered while the mortar surface is still wet and tacky. Mortar is to be applied to the panel backs using the notch side of the trowel. Trowel ridges on both the panel backs and substrate must be parallel to each other when panels are installed to assist in achieving 100% adhesive coverage to panel backs. Floor installations: Stand on the center of the panel and use short “shuffle-steps,” back-and-forth along the shortest panel dimension, to ensure complete mortar coverage and collapse mortar ridges. Floor and wall installations: Additionally, use vibrating palm sanders, with pads, to assist with releasing entrapped air from the beneath the panels and ensure complete mortar coverage beneath the panel edges. Use mechanical edge-leveling systems to help minimize lippage between panel edges and ensure complete mortar coverage under panel edges. Consult edge-leveling system manufacturer for detailed instructions on use of their various systems. Clean excess latex Portland-cement mortar from faces of porcelain slabs and joints between pieces, immediately. Allow installation to cure for minimum 72 hours at 70° F (21° C), prior to grouting.

Use the following LATICRETE System Materials:

LATAPOXY 300 Adhesive

References:

LATICRETE Data Sheets: 633.0

LATICRETE MSDS: 300 Part A, 300 Part B, 300 Part C

GREENGUARD Certificate: 300

LATICRETE Technical Data Sheets: 105, 118, 128, 154, 199, 209

- Grouting:

NOTE TO SPECIFIER: select one of following and specify color for each type/color of large, thin porcelain tile:

1.  Chemical Resistant, Water Cleanable Tile-Grouting Epoxy (ANSI A118.3):  Follow manufacturer‘s recommendations for minimum cure time prior to grouting.  Store liquid components of LATICRETE® SPECTRALOCK® PRO Premium Grout† for 24 hours @ 70-80°F (21-27°C) prior to use to facilitate mixing and application. Substrate temperature must be 40-95°F (4-35°C).  Verify joints are free of dirt, debris or grout spacers. Sponge or wipe dust/dirt off tile faces and remove water standing in joints.  Apply grout release to face of absorptive, abrasive, non-slip or rough textured Ceramic tile, pavers, bricks, stone or trim units that are not hot paraffin coated to facilitate cleaning.  Cut open pouch and pour LATICRETE SPECTRALOCK PRO Premium Grout Part A Liquid into a clean mixing pail.  Then open pouch and pour LATICRETE SPECTRALOCK PRO Premium Grout Part B Liquid into the mixing pail.  Mix by hand or with a slow speed (<300 rpm) mixer until the two liquids are well blended.  Then, while mixing, add LATICRETE SPECTRALOCK Grout Part C Powder and blend until uniform.  For narrow joints, it is acceptable to leave out up to 10% of the LATICRETE SPECTRALOCK Grout Part C Powder to produce a more fluid mix. Install LATICRETE SPECTRALOCK PRO Premium Grout in compliance with current revisions of ANSI A108.02 (3.13) and ANSI A108.6 (3.0 - 4.0).  Spread using a sharp edged, firm rubber float and work grout into joints.  Using strokes diagonal (at 45° angle) to the grout lines, pack joints full and free of voids/pits.  Then hold float face at a 90° angle to grouted surface and use float edge to "squeegee" off excess grout, stroking diagonally to avoid pulling grout out of filled joints.  Once excess grout is removed, a thin film/haze will be left.  Initial cleaning of the remaining film/haze can begin approximately 20 minutes after grouting (wait longer when temperatures are cooler).  Begin by mixing one cleaning additive packet with 2 gallons (7.6 L) of clean water in a clean bucket to make cleaning solution. Dip a clean sponge into the bucket and then wring out cleaning solution until sponge is damp. Using a circular motion, lightly scrub grouted surfaces with the damp sponge to loosen grout film/haze.  Then drag sponge diagonally over the scrubbed surfaces to remove froth.  Rinse sponge frequently and change cleaning solution at least every 50 ft2 (4.7m2).  Discard sponges as they become "gummy" with residue.  Check work as you clean and repair any low spots with additional grout. One (1) hour after finishing first cleaning, clean the same area again following the same procedure but utilizing a clean white scrub pad and fresh cleaning solution. Rinse scrub pad frequently.  Drag a clean sponge diagonally over the scrubbed surfaces to remove froth.  Use each side of sponge only once before rinsing and change cleaning solution at least every 50 ft2 (4.7m2).  Allow cleaned areas to dry and inspect tile/stone surface.  For persistent grout film/haze (within 24 hours), repeat scrubbing procedure with undiluted white vinegar and clean pad.  Rinse with clean water and allow surface to dry.  Inspect grout joint for pinholes/voids and repair them with freshly mixed LATICRETE® SPECTRALOCK® PRO Premium Grout†.  Cautions: Do not use undiluted white vinegar on polished marble or limestone unless a test spot in an inconspicuous area indicates no change in finish appearance; do not use acid cleaners on epoxy grout less than 7 days old.

Use the following LATICRETE System Materials:

LATICRETE SPECTRALOCK PRO Premium Grout

References:

LATICRETE Data Sheets: 681.0, 681.5

LATICRETE MSDS: Premium Part A, Premium Part B, Part C Powder, Cleaning Additive

GREENGUARD Certificate: PRO

LATICRETE Technical Data Sheets: 111, 198, 212, 400

2.  Polymer Fortified Cement Grout (ANSI A118.7):

NOTES TO SPECIFIER: PERMACOLOR® Select is an advanced, high performance cement grout that offers the industry’s first dispensable dry pigment solution. PERMACOLOR Select is designed for virtually all types of residential and commercial installations and offers optimum performance on the most demanding exterior or interior applications. Easy to mix, grout and clean, PERMACOLOR Select is fast setting and is suitable for joints 1/16” to ½” (1.5mm – 12mm) wide on floors or walls. Specify grout color(s) for each area as needed.

Surface Preparation

Before starting to grout, remove spacers and debris in grout joints and remove dust and dirt using a wet sponge.  Do not leave water standing in joints. Note: when grouting in hot weather refer to TDS 176 Hot Weather Tiling and Grouting. Substrate temperature must be between 40°F (4°C) and 90°F (32°C). Apply grout release or sealer if necessary.  Refer to TDS 400 Grout Guide for more information on grouting.

Mixing

Use approximately 2 – 2.25 quarts (1.9 L – 2.1 L) of clean potable water for 2 PERMACOLOR Select Color Packs and 25 lbs. (11.3 kg) of PERMACOLOR Select Grout Base.  Do not use with 1776 Grout Enhancer or any other latex additive. Place water in a clean mixing container. Remove Color Packs from the cardboard container as well as the protective plastic sleeve.  The internal bag is a water-dispersible pack – when using the 25 lbs. (11.3 kg) bag of PERMACOLOR Select, drop both color packs directly to water in clean mixing container. Mix with a drill mixer until pigment is dispersed evenly in container and the dispersible pack is no longer visible. Add PERMACOLOR Select Base.  Mix with a slow speed drill mixer (300 rpm) for 1 minute.  Wait for 5 minutes and remix with drill for 1 minute. If using the 12.5 lbs. bag, drop only one color pack into 1 – 1.1 quarts (.8L – 1.0 L) of clean water.

Application

Clean tile surface with a damp sponge.  Spread with a sharp, firm rubber grout float or wall float for narrow wall joints.  To remove excess grout, hold the float at a 90° angle and pull it at a 45° angle diagonally across the joints to avoid pulling out the material.

Note: If the grout begins to stiffen during installation, remix with drill mixer for 10–15 seconds. DO NOT ADD MORE WATER.

Cleaning

For first cleaning wait approximately 35 – 40 minutes at 70°F (21°C). Wider joints or cooler temperatures may extend wait time. Begin initial cleaning by lightly wiping down entire area to be cleaned with a damp sponge. Wash with a damp sponge (not wet). Work diagonally to the joints. Allow to dry 3 hours at 70°F (21°C). For second cleaning use a damp sponge or dry cloth to remove remaining grout haze.

Note: Use caution when polishing soft glazed tile or polished stone. If grout is to be sealed, LATICRETE generally recommends waiting a minimum of a 72 hours at 70°F (21°C) prior to sealing PERMACOLOR® Select, with a STONETECH® sealer.

Use the following LATICRETE System Materials:

LATICRETE PERMACOLOR Select

References:

LATICRETE Data Sheets: 281.0;

LATICRETE MSDS: 2500;

GREENGUARD Certificates:  2500;

LATICRETE Technical Data Sheets: 201, 400; 113; 174

- Expansion and Control Joints: Provide control or expansion joints as located in contract drawings and in full conformity, especially in width and depth, with architectural details.

- Substrate joints must carry through, full width, to surface of tile work.

- Install expansion joints in tile work over construction/cold joints or control joints in substrates.

- Install expansion joints where tiles abut restraining surfaces (such as perimeter walls, curbs, columns), changes in plane and corners.

- Joint width and spacing depends on application - follow TCNA “Handbook for Ceramic, Glass, and Stone Tile Installation” Detail "EJ-171 Expansion Joints" or consult sealant manufacturer for recommendation based on project parameters.

- Joint width: ≥ ⅛” (3mm) and ≤ 1” (25mm).

- Joint width: depth ~2:1 but joint depth must be ≥ ⅛” (3mm) and ≤ ½” (12mm).

- Layout (field defined by joints): 1:1 length: width is optimum but must be ≤ 2:1. Remove all contaminants and foreign material from joint spaces/surfaces, such as dirt, dust, oil, water, frost, setting/grouting materials, sealers and old sealant/backer.  Use LATICRETE® LATASIL™ 9118 Primer for permanent wet area installations.  Install appropriate backing material (e.g. closed cell backer rod) based on expansion joint design and as specified in section 07 92 00.  Apply masking tape to face of tiles for protection during sealant application.  Use caulking gun, or other applicator, to completely fill joints with sealant.  Within 5-10 minutes of filling joint, ‘tool’ sealant surface to a smooth finish.  Remove masking tape immediately after tooling joint.  Wipe excess sealant off all surfaces immediately.

Use the following LATICRETE System Materials:

LATICRETE LATASIL

LATICRETE LATASIL 9118 Primer

References:

LATICRETE Detail Drawings: WP300, WP301, WP302, WP303, EJ-01, EJ-06, EJ-08,

EJ-09, EJ-10, EJ-12, EJ-13, EJ-14

(Sealant treatments only)

LATICRETE Data Sheets: 6200.1, 6526.1

LATICRETE MSDS: LATASIL, Primer

LATICRETE Technical Data Sheets: 211, 252

- Adjusting:  Correction of defective work for a period of one (1) year following substantial completion, return to job and correct all defective work.  Defective work includes, without limitation, tiles broken in normal abuse due to deficiencies in setting bed, loose tiles or grout, and all other defects which may develop as a result of poor workmanship.

3.5	CLEANING

Clean excess mortar/epoxy from tile work with water before they harden and as work progresses.  Do not contaminate open grout/caulk joints while cleaning. Sponge and wash tile work diagonally across joints. Do not use acids for cleaning. Polish with clean dry cloth. Remove surplus materials and leave premises broom clean.

3.6	PROTECTION

A.   Protect finished installation under provisions of section 01 50 00.  To avoid damage to finished tile work, schedule floor installations to begin only after all structural work, building enclosure, and overhead finishing work are completed.

- Keep all traffic off finished tile floors until they have fully cured. Builder shall provide up to ¾” (19mm) thick plywood or OSB protection over non-staining Kraft® paper to protect floors after installation material shave cured. Covering the floor with polyethylene or plywood in direct contact with the floor may adversely affect the curing process of grout and latex/polymer fortified Portland cement mortars.

- Due to the slow rate of Portland cement hydration and strength development at low temperatures, protect installations exposed to these conditions from traffic for longer than normal periods. Protect newly installed exterior adhered veneer installations from direct exposure to rain for 7 days at 70 degrees Fahrenheit / 21 degrees Celsius. Protection applies to the substrate, the installation of adhesives and joint grouts, post-installation (rain and temperature protection) until suitable cure, and the storage and handling of the cladding material. Extend period of protection of tile work at lower temperatures, below 60°F (15°C), and at high relative humidity (>70% R.H.) due to retarded set times of mortar/adhesives. For every 18°F (10°C) below 70°F (21°C) cementitious and epoxy materials take twice as long to cure. Large format tiles require longer curing periods in cooler temperatures. Keep all traffic off the finished work until full cure. Suitable protection is to be included in the scope of work. Each component must reach a proper cure prior to installing the subsequent installation product.

- Tent / shade and heat areas that will be subjected to the elements or freezing temperatures during installation and cure periods.

- Keep floors installed with epoxy adhesive closed to traffic for 24 hours at 70°F (21°C), and to heavy traffic for 48 hours @ 70°F (21°C) unless instructed differently by manufacturer.  Use kneeling boards, or equivalent, to walk/work on newly tiled floors.

- Replace or restore work of other trades damaged or soiled by work under this section.

PART 4 – HEALTH AND SAFETY

The use of personal protection such as rubber gloves, suitable dust masks, safety glasses and industrial clothing is highly recommended. Discarded packaging, product wash and wastewater should be disposed of as per local, state or federal regulations.

END OF SECTION

"As a professional courtesy, LATICRETE offers technical services free of charge. The user maintains all responsibility for verifying the applicability and suitability of the technical service or information provided."

The right to copy, distribute and utilize for commercial purposes is granted exclusively to architects, engineers, and specification writers.  Execution Statements are subject to change without notice.  For latest revision, check our website @ www.laticrete.com

R  5 February 2020

†   United States Patent No.: 6,881,768 (and other Patents)

(  United States Invention Patent No.: 6,784,229 B2

All references are the intellectual property of their respective owners:

TCNA Handbook for Ceramic, Glass, and Stone Tile Installation. Tile Council of North America, Inc. Anderson, SC, 2019.

American National Standard Specifications for Installation of Ceramic Tile. Tile Council of North America, Inc. Anderson, SC, 2019.

Annual Book of ASTM Standards. American Society for Testing and Materials. West Conshohocken, PA, 2001.

American National Standard Specifications for Ceramic Tile (ANSI A137.1). Tile Council of North America, Inc. Anderson, SC 2019.

American National Standard Specifications for Glass Tile (ANSI A137.2). Tile Council of North America, Inc. Anderson, SC, 2019.

American National Standard Specifications for Gauged Porcelain Tile and Gauged Porcelain Tile Panels/Slabs (ANSI A137.3). Tile Council of North America, Inc. Anderson, SC, 2017.

ISO 13007 Ceramic Tiles – Grouts and Adhesives, International Organization for Standardization (ISO), Geneva, Switzerland, 2004.

Floor and Trench Drains - ASME A112.6.3. American Society of Mechanical Engineers. New York, NY, 2001 (R 2007).

International Building Code, International Code Council. Country Club Hills, IL, 2018.

International Residential Code for One- and Two-Family Dwellings, International Code Council. Country Club Hills, IL, 2018.

LEED Reference Guide for Green Building Design and Construction v4. U.S Green Building Council. Washington, D.C., 2013.

LEED Schools Reference Guide. U.S. Green Building Council. Washington D.C., 2007.

Lightweight Steel Framing Design Manual. Canadian Sheet Steel Building Institute. Cambridge, ON, Canada, 2006.

North American Specification for the Design of Cold-Formed Steel Structural Members. American Iron and Steel Institute. Washington D.C., 2007.

ICBO ER-4943P Product Technical Information. Steel Stud Manufacturers Association. Chicago, IL, 2001.

Lightweight Steel Framing Systems Manual. Metal Lath/Steel Framing Association Division. Glen Ellyn, IL.